## ESWP
OIL & GAS DEVELOPMENT COMPANY LIMITED
Ref. Section 07 (Operation) of OGDCL’s Integrated HSE System Manual QGF – HSE – 021(00)
|  |  | ELECTRICAL WORK PERMIT | [5 empty] | WO No…………………..
Read Instructions on back of the card copy | [8 empty] | WP S.No………………..
INITIATION
Permit Begins___________________________________ |  |  |  |  | Hours Date_______________________________________________
Permit Expires___________________________________ |  |  |  |  | Hours Date_______________________________________________
Extended upto___________________________________ |  |  |  |  | Hours Date_______________________________________________
Extended by______________________________________________
This permit authorizes Mr._____________________________________________________________________________
of ________________ section, to perform the following work
____________________________________________________________________________________________________
At _________________________________________________________________________________________________
NOTE: Tick Respective one 'Job Type' | [6 empty] | HSE Function
| Corrective Maintenance |  |  | Non Process Activity |  |  | Preventive Maintenance
| Emergency Shut Down |  |  | Project/ New Job |  |  | Productive Analysis
| Routine Process Activity |  |  | Modification |  |  | Annual Turn Around
SAFETY CHECKLIST
Tick 'Yes' or 'No' or 'NA' as applicable | [7 empty] | Yes | No | NA
1 | Has the Tool Box Talk been conducted?
2 | Has the equipment been properly de-energized & tagged?
3 | Is the breaker locked and tagged?
4 | If not, have the circuit breaker output leads been disconnected & Tagged?
5 | Have you ensured that the equipment does not start from the local on/off switch?
6 | Has the equipment where work is to be done identified by the
Performing Technician?
7 | Will the Electrician work on live circuit?
8 | Has Explosivity in the area been checked out for working on live circuit?
9 | Has a stand by maintenance person been appointed for working on live circuit?
10 | Have you instructed the Electrician about the safe procedure of this job?
11 | Have you instructed the Electrician to use insulated electrical tools?
12 | Have the unit affected by the work been 'notified'?
13 | Is scaffolding arranged for safe execution of job? (Attach checklist)
14 | Is JHA required and attached to complete this job?
15 | Who will monitor the operating conditions? __________________________________________________________________________
16 | Fire Fighting arrangements: _______________________________________________________________________________________
17 | Equipment to be use: ____________________________________________________________________________________________
18 | Reference of Power Isolation Slip & LO/TO: ___________________________________________________________________________
19 | Personal Protective Equipment requirement
|  | Helmet |  |  |  | Goggles |  |  | Apron
|  | Coverall |  |  |  | Gas Mask/ Respirator |  |  | Ear Muffs/Plugs
|  | Safety Shoes/Gum Boots |  |  |  | Dust Mask |  |  | Full Body Harness/ Safety Belt
|  | Rubber/Cotton Gloves |  |  |  | Face Shield |  |  | SCBA
20 | Special Instructions. __________________________________________________________________________________
[5 empty] | _______________________ |  |  | ______________________
| Authorization |  | Permit Issue Authority |  | Relevant Section |  |  | Permit Receiver
[5 empty] | IC Electrical / Shift Engineer |  |  | Supervisor/Performing Technician
JOB COMPLETION
This job has been completed and area has been cleared.
Date/Time______________________
However the summary of "incidents" encountered during the job is given below:-
|  | Asset Damage | Environment Damage | Fatal | Non-Fatal | First Aid | Near Hits
(Tick/Cross)
Description:
| Signed by |  |  |  | Checked by |  |  | Verified by
Supervisor/Performing Technician |  |  |  |  | Area Operator |  | Receiving Authority
ALL WORK PERMIT AREAS ARE NON-SMOKING AREAS
IMPORTANT INSTRUCTIONS
1 | This permit is for performing electric work on electric equipment including motors.
2 | Card copy of this permit shall be "displayed" at a conspicuous place, close to work area
by the performing Technician.
3 | This permit is valid for the specified job only.
4 | This permit is valid only up to the specified time and shall be extended /
reissued if the job has to be continued beyond the expiration time.
5 | This permit can be extended only once.
6 | Only authorized persons to operate the distribution system.
7 | If the work is not started or is stopped for any period, due to safety consideration, the
permit must be revalidated by the issuing authority before the work is started or
resumed.
8 | Any addition/alteration made on the work permit except extension /
revalidation renders the permit invalid.
9 | It is the responsibility of the Supervisor/Performing Technician to clear/housekeep the
area of the completion of the job and to notify the issuing Authority.
10 | The Issuing Authority/Receiving Authority should retain their respective copy
of the work permit for one month.
11 | In case of emergency/evacuation announced, all work permits will be cancelled and new
work permit is required to complete the job.
12 | The summary of HSE "incidents" encountered during the job must be reflected through
the Monthly HSEQ Report.
Note: Attach the JHA and other relevant formats as applicable.