## ECWP
OIL & GAS DEVELOPMENT COMPANY LIMITED
Ref. Section 07 (Operation) of OGDCL’s Integrated HSE System Manual OGF – HSE – 024(00)
|  |  | Excavation & Civil Work Permit | [5 empty] | WO No…………………..
Read Instructions on back of the card copy | [8 empty] | WP S.No………………..
INITIATION
Permit Begins___________________________________ |  |  |  |  | Hours Date_______________________________________________
Permit Expires___________________________________ |  |  |  |  | Hours Date_______________________________________________
Extended upto___________________________________ |  |  |  |  | Hours Date_______________________________________________
Extended by______________________________________________
This permit authorizes Mr._____________________________________________________________________________
of ________________ section, to perform the following work
____________________________________________________________________________________________________
At _________________________________________________________________________________________________
NOTE: Tick Respective one 'Job Type' | [6 empty] | HSE Function
| Corrective Maintenance |  |  | Non Process Activity |  |  | Preventive Maintenance
| Emergency Shut Down |  |  | Project/ New Job |  |  | Productive Analysis
| Routine Process Activity |  |  | Modification |  |  | Annual Turn Around
PERODIC INSPECTION (To be carried out before and during the work)
MEASUREMENT BY_______________________________________________ DATE _______________________________
TEST INTERVAL | TIME | RESULT | TIME | RESULT | TIME | RESULT | TIME | RESULT | TIME | RESULT
% LEL
%OXYGEN
H2S(ppm)
SAFETY CHECKLIST
Tick 'Yes' or 'No' or 'NA' as applicable | [7 empty] | Yes | No | NA
1 | Has the Tool Box Talk been conducted?
2 | Is there any electrical or cable under ground?
3 | Is the underground cable de-energized?
4 | Are electric switches / breakers locked & tagged?
5 | Are there any underground interment lines?
6 | Are underground pipeline(s) under pressure?
7 | Are the instrument cable de-energized and disconnected?
8 | Are there any gas pipelines, water lines or any other line underground?
9 | Are pipelines underground emptied / isolated and blinded?
10 | Is power driven equipment permitted for chipping & grinding etc?
11 | Is showering required?
12 | Is scaffolding arranged for safe execution of job? (Attach checklist)
13 | Are the barricading and warning signs in place?
14 | Is JHA required and attached to complete this job?
15 | Who will monitor the operating conditions? _________________________________________________
16 | Fire Fighting arrangements: __________________________________________________________________________________
17 | Personal Protective Equipment requirement
|  | Helmet |  |  |  | Goggles |  |  | Apron
|  | Coverall |  |  |  | Gas Mask/ Respirator |  |  | Ear Muffs/Plugs
|  | Safety Shoes/Gum Boots |  |  |  | Dust Mask |  |  | Full Body Harness/ Belt
|  | Heat/Cotton Gloves |  |  |  | Face Shield |  |  | SCBA
18 | Special Instructions. __________________________________________________________________________________
[5 empty] | ______________________ |  |  | _______________________
| Authorization |  | Permit Issue Authority |  | Relevant Section |  |  | Permit Receiver
JOB COMPLETION
This job has been completed and area has been cleared.
Date/Time______________________
However the summary of "incidents" encountered during the job is given below:-
|  | Asset Damage | Environment Damage | Fatal | Non-Fatal | First Aid | Near Hits
(Tick/Cross)
Description:
| Signed by |  |  |  | Checked by |  |  | Verified by
Supervisor/Performing Technician |  |  |  |  | Area Operator |  | Receiving Authority
ALL WORK PERMIT AREAS ARE NON-SMOKING AREAS
IMPORTANT INSTRUCTIONS
1 | This permits is only valid for excavation or civil works.
2 | Card copy of this permit shall be "displayed" at a conspicuous place, close to
work area.
3 | This permit is valid for the specified job only.
4 | If the work is not started or is stopped for any period, due to safety
considerations, the permit must be revalidated by the issuing Authority
before the work is started or resumed.
5 | Any addition / alteration made on the work permit except extension /
revalidation renders the permit invalid.
6 | This permit is valid only up to the specified time and shall be extended /
reissued if the job has to be continued beyond the expiration time.
7 | It is the responsibility of the Supervisor/Performing to
clear / housekeep the area on the completion of the job and
to notify the issuing Authority.
8 | The Issuing authority / Receiving Authority should retain their
respective copy of the work permit for one month.
9 | The summary of HSE "incidents" encountered during the job must be reflected through
the Monthly HSEQ Report.
Note: Attach the JHA and other relevant formats as applicable.