## CSP
OIL & GAS DEVELOPMENT COMPANY LIMITED
Ref. Section 07 (Operation) of OGDCL’s Integrated HSE System Manual OGF – HSE – 022(00)
|  | CONFINED SPACE/ VESSEL ENTRY PERMIT | [6 empty] | WO No…………………..
Read Instructions on back of the card copy | [8 empty] | WP S.No………………..
INITIATION
Permit Begins___________________________________ |  |  |  |  | Hours Date____________________________________________
Permit Expires___________________________________ |  |  |  |  | Hours Date____________________________________________
Extended upto___________________________________ |  |  |  |  | Hours Date____________________________________________
Extended by___________________________________________
This permit authorizes Mr._____________________________________________________________________________
of ________________ section, to perform the following work
____________________________________________________________________________________________________
At _________________________________________________________________________________________________
NOTE: Tick Respective one 'Job Type' | [6 empty] | HSE Function
| Corrective Maintenance |  |  | Non Process Activity |  |  | Preventive Maintenance
| Emergency Shut Down |  |  | Project/ New Job |  |  | Productive Analysis
| Routine Process Activity |  |  | Modification |  |  | Annual Turn Around
PERODIC INSPECTION: (To be carried out before and during the work)
MEASUREMENT BY_______________________________________________ DATE _______________________________
TEST INTERVAL | TIME | RESULT | TIME | RESULT | TIME | RESULT | TIME | RESULT | TIME | RESULT
% LEL
%OXYGEN
H2S(ppm)
SAFETY CHECKLIST
Tick 'Yes' or 'No' or 'NA' as applicable | [7 empty] | Yes | No | NA
1 | Has the Tool Box Talk been conducted?
2 | Has Worker received safety training?
3 | Is electrically driven equipment disconnected?
4 | Are electrical switches tagged?
5 | Is the breaker locked and tagged?
6 | Are all lines disconnected or blinded?
7 | Are all valves closed and in-between bleeders opened?
8 | Is the equipment depressurized, flushed and purged?
9 | Is the atmosphere around (including wind direction, explosive gas leakage) suitable for entry?
10 | Is the person fit for entry?
11 | Is work site barricaded and warning signs posted?
12 | Is any sludge or rust present?
13 | Is the vessel cold enough to enter?
14 | Is adequate ventilation and lighting ( 24 V) arranged?
15 | Name of the Standby/Rescue/Fireman assigned
16 | Protective Equipment required?
17 | Is JHA required and attached to complete this job?
18 | Who will monitor the operating conditions?_______________________________________________
19 | Fire Fighting Arrangements: _____________________________________________________________________________
20 | Personal Protective Equipment requirement
|  | Helmet |  |  |  | Goggles |  |  | Apron
|  | Coverall |  |  |  | Gas Mask/ Respirator |  |  | Ear Muffs/Plugs
|  | Safety Shoes/Gum Boots |  |  |  | Dust Mask |  |  | Full Body Harness/ Safety Belt
|  | Rubber/Cotton Gloves |  |  |  | Face Shield |  |  | SCBA
21 | Special Instructions. _______________________________________________________________________________________
[5 empty] | ______________________ |  |  | ______________________
| Authorization |  | Permit Issue Authority |  | Relevant Section |  |  | Permit Receiver
JOB COMPLETION
This entry-job has been completed and area has been cleared.
Date/Time______________________
However the summary of "incidents" encountered during the job is given below:-
|  | Asset Damage | Environment Damage | Fatal | Non-Fatal | First Aid | Near Hits
(Tick/Cross)
Description:
| Signed by |  |  |  | Checked by |  |  | Verified by
Supervisor/Performing Technician |  |  |  |  | Area Operator |  | Receiving Authority
ALL WORK PERMIT AREAS ARE NON-SMOKING AREAS
IMPORTANT INSTRUCTIONS
1 | This permit covers vessel entry only. If any job has to be performed, respective permit
must be obtained.
2 | Card copy of this permit shall be "displayed" at a conspicuous place ,close to work area.
3 | This permit is valid for the specified entry-job only.
4 | If the work is not started or is stopped for any period ,due to safety consideration the
permit must be revalidated by the issuing Authority before the work is started
or resumed.
5 | If the work is not commence within 2 hours of the issue of work permit ,the work
permit must be revalidated
6 | Any addition /alteration made on the work permit except extension /revalidation renders
the permit invalid.
7 | This permit is valid only up to the specified time and shall be extended / reissued if the
job has to be continued beyond the expiration time.
8 | This permit can be extended only once.
9 | It is the responsibility of the supervisor and performing technician to clear / housekeep the
area on the completion of the job and to notify the issuing authority.
10 | The issuing authority / receiving authority should retain their respective copy of the
work permit for one month.
11 | The summary of HSE "incidents" encountered during the job must be reflected through
the Monthly HSEQ Report.
CONFINED SPACE ENTRY LOG
Designated Attendant:
| Relief Attendant(s): (1) |  |  |  | -2 |  | -3
Entrant's Name | Company | In | Out | In | Out | In | Out | In | Out
1)
2)
3)
4)
5)
6)
7)
8)
Comments Regarding Confined Space or Entrants: