## Cover Page
|  | Zishan Engineers (Pvt.) Ltd. An ISO 9001-2015 certified company, 47/F, Block 6, PECHS, Karachi-Pakistan Tel: (92-21) 34393045-48 & 34310151-54 Fax: (92-21) 34533430 & 34310156 E-mail : contact@zishanengineers.com, Web : www.zishanengineers.com |  | Document No. | 165-2-BQE-003
|  |  |  | Revision | 0
|  |  |  | Date | 2018-06-04
|  |  |  | Total Pages (inc front cover) | 3
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES FOR MOTOR CONTROL CENTER AND DISTRIBUTION PANELS & BOARDS
0 | 2018-06-04 | Issued for Tender | MF | NAK | MIAH
Rev. | Date | Description | Prepared By | Checked By | Approved By

## BOQ
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES FOR MOTOR CONTROL CENTER AND DISTRIBUTION PANELS & BOARDS
S.NO. | D E S C R I P T I O N | QTY. | UNIT | Supply | [5 empty] | Services |  |  |  | Total Amount (Supply + Services) (Pak. Rs.) | REMARKS / REFERENCE
|  |  |  | Unit Rate (Pak Rs.) | Total Supply (Pak Rs.) | GST on Supply items (Pak. Rs.) | Total Supply inclusive of GST | Third Party Pre Shipment Inspection (Pak. Rs.) | Total Supply inclusive of GST & Pre-Shipment Inspection | Unit Rate (Pak Rs.) | Total Services (Pak Rs.) | GST & Provincial tax on Services (Pak.Rs.) | Total Services inclusive of GST & Provincial Tax on Services (Pak.Rs.)
[5 empty] | A | B | C = A+B | D | E = C+D |  | F | G | H = F+G | I=E+H
1 | LOW VOLTAGE SWITCHGEAR / MCC / SUB DISTRIBUTION BOARDS: | [13 empty] | 165-2-ELS-002 165-2-SPE-017 165-2-SPE-024
1.1 | SUPPLY, INSTALLATION, ERECTION, TESTING AND COMMISSIONING OF MOTOR CONTROL CENTER/ SWITCHGEAR (101-MCC-01) FLOOR MOUNTED 400 V, 50 Hz LV MCC / SWITCHGEAR ASSEMBLIES AS PER REFERRED SLDs DATA SHEET AND SPECIFICATION COMPLETE IN ALL RESPECTS INCLUDING BUT NOT LIMITED TO SUPPLY, FABRICATION, FIXING / BOLTING OF GALVANIZED STEEL BASE FRAME AND ALL OTHER INSTALLATION AND MOUNTING ACCESSORIES RQUIRED FOR JOB COMPLETION ALONG WITH TWO YEAR RECOMMENDED SPARE AND TRAININGS. THE JOB ALSO INCLUDES PROTECTION COORDINATION STUDIES OF THE NETWORK. | 1 | Set |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.2 | SUPPLY OF TWO (02) YEARS RECOMMENDED SPARE PARTS. (PLEASE PROVIDE SEPARATE ITEM-WISE PRICED LIST) | 1 | LOT |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2 | LOW VOLTAGE SUB DISTRIBUTION PANELS/BOARDS: (Indoor type)
| SUPPLY, INSTALLATION, ERECTION , TESTING , COMISSIONING OF FOLLOWING LOW VOLTAGE SUB DISTRIBUTION PANELS , INDOOR TYPE, IP31 ENCLOSURE AS SHOWN IN REFERRED SLD AND AS PER REFFERED DOCUMENTS COMPLETE IN ALL RESPECT INCLUDING ALL INSTALLATIONS, MOUNTING AND FIXING ACCESSORIES. THE JOB INCLUDES EARTHING CONNECTIONS AND EQUIPOTENTIAL BONDING BETWEEN PANELS ALONG WITH TWO YEAR RECOMMENDED SPARE AND TRAININGS COMPLETE IN ALL RESPECT. | [13 empty] | 165-2-SPE-017 165-2-SPE-024
2.1 | LIGHITNG DISTRIBUTION PANEL (101-LDP-01) | 1 | Set |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-ELS-004
3 | AC UN-INTERRUPTABLE POWER SUPPLY:
3.1 | SUPPLY, INSTALLATION, TESTING AND COMISSIONING OF AC UPS OF 20 KVA SUITABLE FOR 400V INPUT VOLTAGE, 230V OUTPUT VOLTAGE, 50 HZ, DUAL REDUNDANT TYPE, HOT STAND-BY, LEAD ACID SEALED BATTERY TYPE, AS PER REFFERED SPECIFICATIONS AND DATASHEETS. COMPLETE IN ALL RESPECT INCLUDING SUPPLY AND INSTALLATION OF ALL MOUNTING AND INSTALLATION ACCESSORIES. THE JOB INCLUDES FABRICATION, SUPPLY AND INSTALLATION OF FRAME (IF REQUIRED) AND EARTHING CONNECTIONS AND EQUIPOTENTIAL BONDING COMPLETE IN ALL RESPECT. EACH MODULE SHOULD BE SIZED TO WITHSTAND 100% LOAD | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-SPE-019 165-2-DSE-003
3.2 | SUPPLY OF TWO (02) YEARS RECOMMENDED SPARE PARTS. (PLEASE PROVIDE SEPARATE ITEM-WISE PRICED LIST) | 1 | LOT |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
4 | AC UN-INTERRUPTABLE POWER SUPPLY:
| SUPPLY, INSTALLATION, TESTING AND COMISSIONING OF AC UPS OF 30 KVA SUITABLE FOR 400V INPUT VOLTAGE, 400V OUTPUT VOLTAGE, 50 HZ, DUAL REDUNDANT TYPE, HOT STAND-BY, LEAD ACID SEALED BATTERY TYPE, AS PER REFFERED SPECIFICATIONS AND DATASHEETS. COMPLETE IN ALL RESPECT INCLUDING SUPPLY AND INSTALLATION OF ALL MOUNTING AND INSTALLATION ACCESSORIES. THE JOB INCLUDES FABRICATION, SUPPLY AND INSTALLATION OF FRAME (IF REQUIRED) AND EARTHING CONNECTIONS AND EQUIPOTENTIAL BONDING COMPLETE IN ALL RESPECT. EACH MODULE SHOULD BE SIZED TO WITHSTAND 100% LOAD | RATE ONLY | NO. | [11 empty] | RATE ONLY
5 | RECTIFIER
5.1 | SUPPLY, INSTALLATION, TESTING AND COMISSIONING OF RECTIFIER OF 4 KVA SUITABLE FOR 400V INPUT VOLTAGE, 24V DC OUTPUT VOLTAGE, LEAD ACID SEALED BATTERY TYPE, AS PER REFFERED SPECIFICATIONS AND DATASHEETS. COMPLETE IN ALL RESPECT INCLUDING SUPPLY AND INSTALLATION OF ALL MOUNTING AND INSTALLATION ACCESSORIES. THE JOB INCLUDES FABRICATION, SUPPLY AND INSTALLATION OF FRAME (IF REQUIRED) AND EARTHING CONNECTIONS AND EQUIPOTENTIAL BONDING COMPLETE IN ALL RESPECT. EACH MODULE SHOULD BE SIZED TO WITHSTAND 100% LOAD, ALONG WITH DC DISTRIBUTION BOARD AND DC CABLING UPTO DISTRIBUTION BOARDS. | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-SPE-020 165-2-DSE-004
5.2 | SUPPLY OF TWO (02) YEARS RECOMMENDED SPARE PARTS. (PLEASE PROVIDE SEPARATE ITEM-WISE PRICED LIST) | 1 | LOT |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
6 | UPS DISTRIBUTION PANELS/BOARDS:
| SUPPLY, INSTALLATION, ERECTION , TESTING , COMISSIONING OF FOLLOWING UPS DISTRIBUTION PANELS , INDOOR TYPE, IP31 ENCLOSURE AS SHOWN IN REFERRED SLD AND AS PER REFFERED DOCUMENTS COMPLETE IN ALL RESPECT INCLUDING ALL INSTALLATIONS, MOUNTING AND FIXING ACCESSORIES. THE JOB INCLUDES EARTHING CONNECTIONS AND EQUIPOTENTIAL BONDING BETWEEN PANELS COMPLETE IN ALL RESPECT. FOR FLOOR MOUNTED PANELS, THE JOB INCLUDES FABRICATION, SUPPLY AND INSTALLATION OF STEEL BASE FRAME COMPLETE IN ALL RESPECT. | [13 empty] | 165-2-SPE-019 165-2-DSE-003
6.1 | UPS DISTRIBUTION PANEL-01 (102-UDP-01) | 1 | Set |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-ELS-003
6.2 | UPS DISTRIBUTION PANEL-02 (102-UDP-02) | 1 | Set |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-ELS-007
7 | TRAINING TRAINING OF OPERATIONAL PERSONNEL AT PLANT FOR THE PERIOD OF TWO (02) WORKING WEEKS FOR ITEM NO 1.0 AND ITEM NO 3.0 | 1 | JOB |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| Total Price (1 to 7) | [7 empty] | 0 |  |  |  | 0 | 0
NOTES:
1 | ALL TAXES SHALL BE PAYABLE BY CONTRACTOR.
2 | THE QUANTITIES MENTIONED IN THE BOQS ARE INDICATIVE AND MAY CHANGE AS DETAIL DESIGN PROGRESSES. THE BID EVALUATION WILL BE CARRIED OUT CONSIDERING THE QUANTITIES GIVEN IN BOQS AND UNIT RATES QUOTED BY THE BIDDERS.
3 | TEST CERTIFICATES AND MTC'S OF ALL ITEMS (WHERE APPLICABLE) SHALL BE PROVIDED.
4 | THE CHARGES SHALL BE SUPPORTED BY VERIFIED QUOTATION OF INSPECTION AGENCY.