## Cover Page
|  | Zishan Engineers (Pvt.) Ltd. An ISO 9001-2015 certified company, 47/F, Block 6, PECHS, Karachi-Pakistan Tel: (92-21) 34393045-48 & 34310151-54 Fax: (92-21) 34533430 & 34310156 E-mail : contact@zishanengineers.com, Web : www.zishanengineers.com |  | Document No. | 165-2-BQC-002
|  |  |  | Revision | 0
|  |  |  | Date | 2018-06-05
|  |  |  | Total Pages (inc front cover) | 7
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES FOR CIVIL WORKS
0 | 2018-06-05 | Issued for Tender | MSH | SS | SMM
Rev. | Date | Description | Prepared By | Checked By | Approved By

## INFRASTRUCTURE WORKS
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES OF CIVIL WORKS FOR INFRASTRUCTURE WORKS
S.NO. | D E S C R I P T I O N | QTY. | UNIT | UNIT RATE (PKR) | AMOUNT (PKR) | REMARKS
1 | GRADING WORKS
1.1 | EXCAVATED SOIL FILL AS PER ITEM NO. 1.4.i) | 7000 | CUM |  | 0
1.2 | IMPORTED SOIL FILL AS PER ITEM NO. 1.4.ii) | 7000 | CUM |  | 0
1.3 | CUTTIING AS PER ITEM NO. 1.3 | 10000 | CUM |  | 0
2 | ROADS |  |  |  | 0
2.1 | GRADED AGGREGATE BASE COURSE AS PER ITEM NO. 13.1 | 538 | CU.M |  | 0
2.2 | ASPHALT CONCRETE BASE COURSE LAYER AS PER ITEM NO. 13.2 | 2150 | SQ.M |  | 0
2.3 | ASPHALT CONCRETE WEARING COURSE LAYER AS PER ITEM NO.13.3 | 2150 | SQ.M |  | 0
2.4 | SUB BASE COURSE AS PER ITEM NO. 1.9 | 323 | CUM |  | 0
2.5 | PRECAST KERB STONES INCLUDING 1:3:6 AS PER ITEM NO 13.6 | 650 | R.M |  | 0
2.6 | COMPACTED EARTHFILL AS PER ITEM NO. 1.11 | 10 | CUM |  | 0
2.7 | STONE PITCHING AS PER ITEM NO. 1.6 | 5 | CUM |  | 0
2.8 | SURFACE DRESSING AS PER ITEM NO. 13.4 | 2150 | SQ.M |  | 0
3 | BRICK PAVING |  | SQM |  | 0
3.1 | BRICK PAVING AS PER ITEM NO. 1.10 | 290 | SQM |  | 0
3.2 | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 22 | CU.M |  | 0
4 | STORM WATER SYSTEM |  |  |  | 0
4.1 | EXCAVATION AS PER ITEM NO. 1.1 | 700 | CU.M |  | 0
4.2 | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 35 | CUM |  | 0
4.3 | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 465 | CUM |  | 0
4.4 | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 28 | TONS |  | 0
4.5 | GRATING AS PER ITEM NO. 14.0 | 440 | SQM |  | 0 | REFER DRAWING FOR DETAIL
4.6 | POLYSULPHIDE JOINT SEALENT AS PER ITEM NO. 23 | 0.1 | CUM |  | 0
4.7 | C.S PIPES AS PER ITEM NO. 20.2 |  |  |  | 0
a) | 100 mm DIA PIPE | 1 | RM |  | 0
b) | 150 mm DIA PIPE | 1 | RM |  | 0
c) | 200 mm DIA PIPE | 1 | RM |  | 0
d) | 250 mm DIA PIPE | 1 | RM |  | 0
e) | 300 mm DIA PIPE | 1 | RM |  | 0
4.8 | R.C.C PIPES AS PER ITEM NO. 20.3 |  |  |  | 0
a) | 100 mm DIA PIPE | 1 | RM |  | 0
b) | 150 mm DIA PIPE | 1 | RM |  | 0
c) | 200 mm DIA PIPE | 1 | RM |  | 0
d) | 250 mm DIA PIPE | 1 | RM |  | 0
e) | 300 mm DIA PIPE | 1 | RM |  | 0
4.9 | STRUCTURAL STEEL AS PER ITEM NO. 10.0 | 7.2 | TON |  | 0
4.1 | MANHOLE COVER AS PER ITEM NO. 28.0 | 1 | NOS. |  | 0
5 | DEMOLITION WORKS |  |  |  | 0
a) | AS PER ITEM NO. 22.0 (i) | 1 | CUM |  | 0
b) | AS PER ITEM NO. 22.0 (ii) | 1 | CUM |  | 0
c) | AS PER ITEM NO. 22.0 (iii) | 1 | CUM |  | 0
TOTAL (PKR) |  |  |  |  | 0

## BUILDINGS & SHEDS WORKS
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES OF CIVIL WORKS FOR BUILDING & SHED WORKS
S.NO. | D E S C R I P T I O N | QTY. | UNIT | UNIT RATE (PKR) | AMOUNT (PKR) | REMARKS
1 | FIREWATER PUMP SHED (INCLUDING INSIDE PUMPS & DIESEL TANK FOUNDATIONS) |  |  |  | 0
1.1 | EXCAVATION AS PER ITEM NO. 1.1 | 230 | CU.M |  | 0
1.2 | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 75 | CU.M |  | 0
1.3 | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 12 | CU.M |  | 0
1.4 | C. C. 1:3:6 AS PER ITEM NO. 2.5 | 30 | CU.M |  | 0
1.5 | RCC 1:2:4 IN FLOOR AS PER ITEM NO. 2.9 | 60 | CU.M |  | 0
1.6 | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 130 | CU.M |  | 0
1.7 | GROUT AS PER ITEM NO. 12.0.i) | 0.6 | CU.M |  | 0
1.8 | GROUT AS PER ITEM NO. 12.0.ii) | 0.16 | CU.M |  | 0
1.9 | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 17.5 | TON |  | 0
1.1 | PLINTH PROTECTION AS PER ITEM NO. 9.12 | 66 | SQ.M |  | 0
1.11 | GRATING AS PER ITEM NO. 14 | 1 | SQ.M |  | 0
1.12 | ANCHOR BOLTS AS PER ITEM NO. 11 | 400 | KG |  | 0
1.13 | STONE SOLING AS PER ITEM NO. 1.5 | 61 | CU.M |  | 0
1.14 | ISOLATION JOINT AS PER ITEM NO. 9.9 | 40 | RM |  | 0
1.15 | STRUCTURAL STEEL AS PER ITEM NO. 10.0 | 45 | TON |  | 0
1.16 | ANCHOR POCKETS AS PER ITEM NO. 17 | 38 | NOS. |  | 0 | SIZE AS PER DRAWING
1.17 | GI SHEET AS PER ITEM NO. 29.0 (i) | 500 | SQM |  | 0
1.18 | BRICK MASONRY AS PER ITEM NO. 4.2 | 11 | CU.M |  | 0
2 | UTILITY SHED |  |  |  | 0
2.1 | EXCAVATION AS PER ITEM NO. 1.1 | 125 | CU.M |  | 0
2.2 | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 40 | CU.M |  | 0
2.3 | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 7.5 | CU.M |  | 0
2.4 | C. C. 1:3:6 AS PER ITEM NO. 2.5 | 18.5 | CU.M |  | 0
2.5 | C. C. 1:2:4 AS PER ITEM NO. 2.4 | 1 | CU.M |  | 0
2.6 | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 35 | CU.M |  | 0
2.7 | RCC 1:2:4 IN FLOOR AS PER ITEM NO. 2.9 | 37 | CU.M |  | 0
2.8 | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 5 | TON |  | 0
2.9 | GROUT AS PER ITEM NO. 12.0.i) | 0.1 | CU.M |  | 0
2.1 | PLINTH PROTECTION AS PER ITEM NO. 9.12 | 52 | SQ.M |  | 0
2.11 | GRATING AS PER ITEM NO. 14 | 1 | SQ.M |  | 0
2.12 | ANCHOR BOLTS AS PER ITEM NO. 11 | 200 | KG |  | 0
2.13 | EMBEDDED ITEMS AS PER ITEM NO. 9.7 | 10 | KG |  | 0
2.14 | STONE SOLING AS PER ITEM NO. 1.5 | 37 | CU.M |  | 0
2.15 | STRUCTURAL STEEL AS PER ITEM NO. 10.0 | 27 | TON |  | 0
2.16 | ISOLATION JOINT AS PER ITEM NO. 9.9 | 20 | RM |  | 0
2.17 | DPC AS PER ITEM NO. 5.3 | 12 | SQM |  | 0
2.18 | BRICK MASONRY AS PER ITEM NO. 4.2 | 9 | CU.M |  | 0
2.19 | GI SHEET AS PER ITEM NO. 29.0 (i) | 310 | SQM |  | 0
3 | COMPRESSOR SHED |  |  |  | 0
3.1 | EXCAVATION AS PER ITEM NO. 1.1 | 300 | CU.M |  | 0
3.2 | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 15 | CU.M |  | 0
3.3 | C. C. 1:3:6 AS PER ITEM NO. 2.5 | 40 | CU.M |  | 0
3.4 | RCC 1:2:4 IN FLOOR AS PER ITEM NO. 2.9 | 80 | CU.M |  | 0
3.5 | R.C.C. 3750 psi UPTO PLINTH LEVEL AS PER ITEM NO. 2.2 | 60 | CU.M |  | 0
3.6 | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 8.5 | TON |  | 0
3.7 | GROUT AS PER ITEM NO. 12.0.i) | 0.21 | CU.M |  | 0
3.8 | PLINTH PROTECTION AS PER ITEM NO. 9.12 | 50 | SQ.M |  | 0
3.9 | GRATING AS PER ITEM NO. 14 | 1 | SQ.M |  | 0
3.1 | ANCHOR BOLTS AS PER ITEM NO. 11 | 325 | KG |  | 0
3.11 | STONE SOLING AS PER ITEM NO. 1.5 | 80 | CU.M |  | 0
3.12 | STRUCTURAL STEEL AS PER ITEM NO. 10.0 | 70 | TON |  | 0
3.13 | ISOLATION JOINT AS PER ITEM NO. 9.9 | 30 | RM |  | 0
3.14 | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 95 | CU.M |  | 0
3.15 | GI SHEET AS PER ITEM NO. 29.0 (i) | 1180 | SQM |  | 0
4 | CONTROL ROOM |  |  |  | 0
4.1 | EXCAVATION AS PER ITEM NO. 1.1 | 43 | CU.M |  | 0
4.2 | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 13.5 | CU.M |  | 0
4.3 | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 3 | CU.M |  | 0
4.4 | C. C. 1:2:4 AS PER ITEM NO. 2.4 | 1 | CU.M |  | 0
4.5 | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 40 | CU.M |  | 0
4.6 | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 4 | TON |  | 0
4.7 | DPC AS PER ITEM NO. 5.3 | 8.2 | SQM |  | 0
4.8 | BRICK MASONRY AS PER ITEM NO. 4.2 | 28 | CU.M |  | 0
4.9 | CEMENT PLASTER |  |  |  | 0
a) | INTERNAL PLASTER AS PER ITEM NO. 5.1 (i) | 205 | SQ.M |  | 0
b) | EXTERNAL PLASTER AS PER ITEM NO. 5.1 (ii) | 225 | SQ.M |  | 0
4.1 | ROOF SCREEDING AS PER ITEM NO. 5.2 | 94 | SQ.M |  | 0
4.11 | COLOURING AS FOLLOWS: |  |  |  | 0
a) | CEILING AS PER ITEM NO. 6.1 | 70 | SQ.M |  | 0
b) | INTERNAL WALLS AS PER ITEM NO. 6.2 | 135 | SQ.M |  | 0
c) | EXTERNAL AS PER ITEM NO. 6.3 | 225 | SQ.M |  | 0
4.12 | TILE WORKS AS FOLLOWS: |  |  |  | 0
a) | PROCELAIN TILES AS PER ITEM NO. 5.4 (i) | 1 | SQ.M |  | 0
b) | ANTI STATIC TILES AS PER ITEM NO. 5.4 (iv) | 72 | SQ.M |  | 0
4.13 | ALUMINUM DOORS, WINDOWS & VENTILATORS |  |  |  | 0
a) | ALUMMINIUM DOORS AS PER ITEM NO. 7.2 | 1.2 | SQ.M |  | 0
b) | ALUMMINIUM WINDOWS AS PER ITEM NO. 7.1 (i) | 13 | SQ.M |  | 0
4.14 | STEEL DOOR AS PER ITEM NO. 7.3. (i) | 3 | SQ.M |  | 0
4.15 | RAIN WATER DRAIN PIPE / SPOUT AS PER ITEM NO. 9.4 | 5 | R.M |  | 0
4.16 | PLINTH PROTECTION AS PER ITEM NO. 9.12 | 22 | SQ.M |  | 0
4.17 | C. C. 1:3:6 AS PER ITEM NO. 2.5 | 3.5 | CU.M |  | 0
4.18 | C. C 1:2:4 FLOORING AS PER ITEM NO. 2.8 (a) | 5 | CU.M |  | 0
4.19 | DEMOLITION WORKS |  |  |  | 0
a) | AS PER ITEM NO. 22.0 (i) | 1 | CUM |  | 0
b) | AS PER ITEM NO. 22.0 (ii) | 1 | CUM |  | 0
c) | AS PER ITEM NO. 22.0 (iii) | 1 | CUM |  | 0
4.2 | DRILLING OF HOLES AND FIXING OF REBARS WITH EPOXY |  |  |  | 0
a) | AS PER ITEM NO. 26.0 (i) | 1 | RM |  | 0
b) | AS PER ITEM NO. 26.0 (ii) | 1 | RM |  | 0
c) | AS PER ITEM NO. 26.0 (iii) | 1 | RM |  | 0
TOTAL (PKR) |  |  |  |  | 0

## Equipment Foundations
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES OF CIVIL WORKS FOR EQUIPMENT FOUNDATIONS & PIPE SUPPORTS
S.NO. | D E S C R I P T I O N | QTY. | UNIT | UNIT RATE (PKR) | AMOUNT (PKR) | REMARKS
1 | TANK FOUNDATIONS |  |  |  | 0
1.1 | FIREWATER TANK FOUNDATION
a) | EXCAVATION AS PER ITEM NO. 1.1 | 350 | CU.M |  | 0
b) | C. C. 1:3:6 AS PER ITEM NO. 2.5 | 8.5 | CU.M |  | 0
c) | C. C. 1:2:4 AS PER ITEM NO. 2.4 | 1 | CU.M |  | 0
d) | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 53 | CU.M |  | 0
e) | BITUMEN COATING AS PER ITEM NO. 27.0 | 1 | SQM |  | 0
f) | HDPE GEOMEMBRANE AS PER ITEM NO. 9.15 | 142 | SQM |  | 0
g) | 2" (SCH. 40) LEAK DETECTION PIPE AS PER ITEM NO. 20.1 (i) | 9 | RM |  | 0
h) | ASPHALT SAND LAYER AS PER ITEM NO. 1.8 | 135 | SQM |  | 0
i) | JOINT SEALENT AS PER ITEM NO. 9.14 | 43 | RM |  | 0
j) | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 5 | TON |  | 0
k) | COARSE SAND FILLING AS PER ITEM NO. 1.2 | 248 | CU.M |  | 0
l) | GROUT AS PER ITEM NO. 12.0.i) | 0.45 | CU.M |  | 0
m) | PLINTH PROTECTION AS PER ITEM NO. 9.12 | 40 | SQM |  | 0
n) | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 88 | CU.M |  | 0
o) | ANCHOR BOLTS AS PER ITEM NO. 11 | 364 | KG |  | 0
p) | GRAVEL FILLING AS PER ITEM NO. 1.9 | 1 | CU.M |  | 0
1.2 | DIESEL OIL STORAGE TANK |  |  |  | 0
a) | EXCAVATION AS PER ITEM NO. 1.1 | 13.77 | CU.M |  | 0
b) | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 4.6 | CU.M |  | 0
c) | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 0.75 | CU.M |  | 0
d) | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 11.5 | CU.M |  | 0
e) | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 0.6 | TON |  | 0
f) | C. C. 1:3:6 AS PER ITEM NO. 2.5 | 0.1 | CU.M |  | 0
g) | GROUT AS PER ITEM NO. 12.0.i) | 0.2 | CU.M |  | 0
1.3 | INSTRUMENT AIR COMPRESSOR PACKAGE FOUNDATION |  |  |  | 0
a) | EXCAVATION AS PER ITEM NO. 1.1 | 50 | CU.M |  | 0
b) | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 2.5 | CU.M |  | 0
c) | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 40 | CU.M |  | 0
d) | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 2.5 | TON |  | 0
e) | GROUT AS PER ITEM NO. 12.0.i) | 0.6 | CU.M |  | 0
f) | GROUT AS PER ITEM NO. 12.0.ii) | 0.3 | CU.M |  | 0
g) | ANCHOR BOLTS AS PER ITEM NO. 11 | 45 | KG |  | 0
h) | ANCHOR POCKETS AS PER ITEM NO. 17 | 1 | NOS. |  | 0 | SIZE AS PER DRAWING
i) | EMBEDDED PLATES AS PER ITEM NO. 9.7 | 10 | KG |  | 0
j) | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 16 | CU.M |  | 0
1.4 | COMPRESSOR PACKAGE FOUNDATION(S) |  |  |  | 0
a) | EXCAVATION AS PER ITEM NO. 1.1 | 300 | CU.M |  | 0
b) | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 14.5 | CU.M |  | 0
c) | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 268 | CU.M |  | 0
d) | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 11 | TON |  | 0
e) | GROUT AS PER ITEM NO. 12.0.i) | 2.25 | CU.M |  | 0
f) | GROUT AS PER ITEM NO. 12.0.ii) | 11 | CU.M |  | 0
g) | ANCHOR BOLTS AS PER ITEM NO. 11 | 380 | KG |  | 0
h) | ANCHOR POCKETS AS PER ITEM NO. 17 | 97 | NOS. |  | 0 | SIZE AS PER DRAWING
i) | EMBEDDED PLATES AS PER ITEM NO. 9.7 | 10 | KG |  | 0
j) | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 96 | CU.M |  | 0
1.5 | INSTRUMENT AIR VESSEL FOUNDATION |  |  |  | 0
a) | EXCAVATION AS PER ITEM NO. 1.1 | 55 | CU.M |  | 0
b) | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 2.6 | CU.M |  | 0
c) | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 42 | CU.M |  | 0
d) | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 3.8 | TON |  | 0
e) | GROUT AS PER ITEM NO. 12.0.i) | 0.55 | CU.M |  | 0
f) | ANCHOR BOLTS AS PER ITEM NO. 11 | 42 | KG |  | 0
g) | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 17.5 | CU.M |  | 0
1.6 | PIPE SLEEPERS/SUPPORTS/RACKS |  |  |  | 0
a) | EXCAVATION AS PER ITEM NO. 1.1 | 208 | CU.M |  | 0
b) | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 7 | CU.M |  | 0
c) | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 69 | CU.M |  | 0
d) | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 7 | TON |  | 0
e) | GROUT AS PER ITEM NO. 12.0.i) | 0.1 | CU.M |  | 0
f) | ANCHOR BOLTS AS PER ITEM NO. 11 | 255 | KG |  | 0
g) | EMBEDDED PLATES AS PER ITEM NO. 9.7 | 1425 | KG |  | 0
h) | STRUCTURAL STEEL WORKS AS PER ITEM NO. 10.0 | 2.5 | TONS |  | 0
i) | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 73 | CU.M |  | 0
j) | HILTI BOLTS AS FOLLOWS : |  |  |  | 0
- | M12 AS PER ITEM NO. 30 (i) | 12 | NOS. |  | 0
- | M16 AS PER ITEM NO. 30 (ii) | 1 | NOS. |  | 0
- | M20 AS PER ITEM NO. 30 (iii) | 1 | NOS. |  | 0
1.7 | PIG LAUNCHER FOUNDATION |  |  |  | 0
a) | EXCAVATION AS PER ITEM NO. 1.1 | 4.5 | CU.M |  | 0
b) | C. C. 1:4:8 AS PER ITEM NO. 2.1 | 0.2 | CU.M |  | 0
c) | R.C.C. 3750 psi AS PER ITEM NO. 2.2 | 1.1 | CU.M |  | 0
d) | STEEL REINFORCEMENT AS PER ITEM NO. 3.1 | 0.1 | TON |  | 0
e) | GROUT AS PER ITEM NO. 12.0.i) | 0.005 | CU.M |  | 0
f) | ANCHOR BOLTS AS PER ITEM NO. 11 | 14 | KG |  | 0
g) | SELECT A3 FILL MATERIAL (BELOW FOUNDATION) AS PER ITEM NO. 1.11 | 1.5 | CU.M |  | 0
h) | EMBEDDED PLATES AS PER ITEM NO. 9.7 | 15 | KG |  | 0
TOTAL (PKR) |  |  |  |  | 0