## Cover Page
|  | Zishan Engineers (Pvt.) Ltd. An ISO 9001-2015 certified company, 47/F, Block 6, PECHS, Karachi-Pakistan Tel: (92-21) 34393045-48 & 34310151-54 Fax: (92-21) 34533430 & 34310156 E-mail : contact@zishanengineers.com, Web : www.zishanengineers.com |  | Document No. | 165-2-BQM-002
|  |  |  | Revision | 0
|  |  |  | Date | 2018-06-04
|  |  |  | Total Pages (inc front cover) | 14
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES FOR PROCESS & FIRE FIGHTING PIPING WORKS
0 | 2018-06-04 | Issued for Tender | MAS | MIAH | SH
Rev. | Date | Description | Prepared By | Checked By | Approved By

## Attach-2A
OIL & GAS DEVELOPMENT COMPANY LTD.
BILL OF QUANTITIES FOR PROCESS & FIRE FIGHTING PIPING WORKS
S.NO. | D E S C R I P T I O N | QTY. | UNIT | Supply | [5 empty] | Services |  |  |  | Total Amount (Supply + Services) (Pak. Rs.) | R E M A R K S
|  |  |  | Unit Rate (Pak Rs.) | Total Supply (Pak Rs.) | GST on Supply items (Pak. Rs.) | Total Supply inclusive of GST | Third Party Pre Shipment Inspection (Pak. Rs.) | Total Supply inclusive of GST & Pre-Shipment Inspection | Unit Rate (Pak Rs.) | Total Services (Pak Rs.) | GST & Provincial tax on Services (Pak.Rs.) | Total Services inclusive of GST & Provincial Tax on Services (Pak.Rs.)
[5 empty] | A | B | C = A+B | D | E = C+D |  | F | G | H = F+G | I=E+H
THE FOLLOWING WORK SHALL INCLUDE , BUT NOT LIMITED TO SUPPLY, INSTALLATION, SHIFTING, PLACEMENT, FABRICATION. WELDING, NDT. HYDROSTATIC TESTING, SURFACE PREPARATION, PAINTING, TESTING, BOLTING, THREADING, PRECOMMISSIONING, COMMISSIONING OF PIPING WORKS COMPLETE IN ALL RESPECTS, AS PER FOLLOWING SPECIFICATIONS, AND TO THE ENTIRE SATISFACTION OF OWNER'S REPRESENTATIVE.
SPEC. NO. 165-2-SPM-021
SPEC. NO. 165-2-SPM-022
1 | CARBON STEEL PIPES
a) | SEAMLESS CARBON STEEL PIPES CONFORMING TO ASTM A-106, Gr.B or API 5L Gr. B. DIMENSIONS ACCORDING TO ASME B36.10, IN DOUBLE RANDOM (12 METER) STD. LENGTHS.
PIPE DIA 2" AND ABOVE TO BE SUPPLIED WITH BEVEL ENDS ACCORDING TO ASME B16.25. IN THE FOLLOWING SIZES AND QUANTITY:
i) | 1/2" NPS. SCH. 80 SMLS | 12 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 1/2" NPS. SCH. 160 SMLS | 6 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 3/4" NPS. SCH. 80 SMLS | 6 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 3/4" NPS. SCH. 160 SMLS | 12 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 1" NPS. SCH. 80 SMLS | 24 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 1" NPS. SCH. 160 SMLS | 6 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 1 1/2" NPS. SCH. 80 SMLS | 12 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 1 1/2" NPS. SCH. 160 SMLS | 12 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 2" NPS. SCH. 40 SMLS | 20 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 2" NPS. SCH. 80 SMLS | 846 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 2" NPS. SCH. 160 SMLS | 60 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 2 1/2" NPS. SCH. 80 SMLS | 60 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 3" NPS. SCH. 40 SMLS | 246 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 3" NPS. SCH. 80 SMLS | 270 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xv) | 3" NPS. SCH. 160 SMLS | 60 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvi) | 4" NPS. SCH. 40 SMLS | 372 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvii) | 4" NPS. SCH. 80 SMLS | 72 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xviii) | 4" NPS. SCH. 160 SMLS | 72 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xix) | 6" NPS. SCH. 40 SMLS | 1458 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xx) | 6" NPS. SCH.80, SMLS | 162 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxi) | 6" NPS. SCH.160, SMLS | 24 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxii) | 8" NPS. SCH. 40 SMLS | 174 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxiii) | 8" NPS. SCH. 80 SMLS | 72 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxiv) | 10" NPS. SCH. 40 SMLS | 2574 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxv) | 10" NPS. SCH. 80 SMLS | 100 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxvi) | 10" NPS. SCH. 120 SMLS | 100 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxvii) | 12" NPS. SCH. 40, SMLS | 60 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxviii) | 12" NPS. SCH. 80, SMLS | 60 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxix) | 12" NPS. SCH. STD, SMLS | 42 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxx) | 14" NPS. SCH. 80, SMLS | 12 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxxi) | 14" NPS. SCH. STD, SMLS | 12 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2 | POLYETHYLENE TAPE WRAP COATING
SUPPLY OF ALL MATERIALS, COATING & WRAPPING AND TESTING OF IN PLANT BURIED PIPING AS PER SPECIFICATION, DRAWINGS AND INSTRUCTIONS OF OWNER'S REPRESENTATIVE, IN THE FOLLOWING SIZES: REFERENCE DOCUMENT: 165-2-SPM-023
i) | 1/2" NPS. SCH. 160 SMLS | 6 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 3/4" NPS. SCH. 160 SMLS | 6 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 1" NPS. SCH. 160 SMLS | 6 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 2" NPS. SCH. 80 SMLS | 6 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 3" NPS. SCH. 80 SMLS | 234 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 3" NPS. SCH. 40 SMLS | 138 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 4" NPS. SCH. 40 SMLS | 294 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 6" NPS. SCH. 40 SMLS | 1428 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 8" NPS. SCH. 40 SMLS | 174 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 10" NPS. SCH. 40 SMLS | 2562 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 12" NPS. SCH. STD. SMLS | 42 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
TOTAL (Pak. Rs.) | [8 empty] | 0 |  |  |  | 0 | 0
NOTES:
1) | ALL TAXES SHALL BE PAYABLE BY CONTRACTOR.
2) | THE QUANTITIES MENTIONED IN THE BOQS ARE INDICATIVE AND MAY CHANGE AS DETAIL DESIGN PROGRESSES. THE BID EVALUATION WILL BE CARRIED OUT CONSIDERING THE QUANTITIES GIVEN IN BOQS AND UNIT RATES QUOTED BY THE BIDDERS.
3) | TEST CERTIFICATES AND MTC'S OF ALL ITEMS SHALL BE PROVIDED.
4) | VENDOR TO FILL THE PRICE IN UNPROTECTED CELLS, UNPROTECTION OF BOQ BY BIDDER LEAD TO DISQUALIFICATION.
550
475

## Attach-2B
OIL & GAS DEVELOPMENT COMPANY LTD.
BILL OF QUANTITIES FOR PROCESS & FIRE FIGHTING PIPING WORKS
S.NO. | D E S C R I P T I O N | QTY. | UNIT | Supply | [5 empty] | Services |  |  |  | Total Amount (Supply + Services) (Pak. Rs.) | R E M A R K S
|  |  |  | Unit Rate (Pak Rs.) | Total Supply (Pak Rs.) | GST on Supply items (Pak. Rs.) | Total Supply inclusive of GST | Third Party Pre Shipment Inspection (Pak. Rs.) | Total Supply inclusive of GST & Pre-Shipment Inspection | Unit Rate (Pak Rs.) | Total Services (Pak Rs.) | GST & Provincial tax on Services (Pak.Rs.) | Total Services inclusive of GST & Provincial Tax on Services (Pak.Rs.)
[5 empty] | A | B | C = A+B | D | E = C+D |  | F | G | H = F+G | I=E+H
THE FOLLOWING WORK SHALL INCLUDE , BUT NOT LIMITED TO SUPPLY, INSTALLATION, SHIFTING, PLACEMENT, FABRICATION. WELDING, NDT. HYDROSTATIC TESTING, SURFACE PREPARATION, PAINTING, TESTING, BOLTING, THREADING, PRECOMMISSIONING, COMMISSIONING OF CARBON STEEL FITTINGS COMPLETE IN ALL RESPECTS, AS PER FOLLOWING SPECIFICATIONS, AND TO THE ENTIRE SATISFACTION OF OWNER'S REPRESENTATIVE.
1 | CARBON STEEL FITTINGS
SUPPLY OF CARBON STEEL FITTINGS COMPLETE IN ALL RESPECTS, AS PER FOLLOWING SPECIFICATIONS, AND TO THE ENTIRE SATISFACTION OF OWNER'S REPRESENTATIVE.
SPEC. NO. 165-2-SPM-016
SPEC. NO. 165-2-SPM-022
1.1 | BUTT WELD 900 ELBOWS:
a) | ELBOW 90º, LONG RADIUS, B.W. ENDS, ASTM A-234, GR.WPB AS PER ANSI/ASME B 16.9.IN THE FOLLOWING SIZES:
i) | 1/2" NPS, SCH. 80 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 1/2" NPS, SCH. 160 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 3/4" NPS, SCH. 80 | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 3/4" NPS, SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 1" NPS, SCH. 80 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 1" NPS, SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 1 1/2" NPS, SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 1 1/2" NPS, SCH. 160 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 2" NPS, SCH. 40 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 2" NPS, SCH. 80 | 54 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 2" NPS, SCH. 160 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 2 1/2" NPS, SCH. 80 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 3" NPS, SCH. 40 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 3" NPS, SCH. 80 | 12 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xv) | 3" NPS, SCH. 160 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvi) | 4" NPS, SCH. 40 | 56 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvii) | 4" NPS, SCH. 80 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xviii) | 4" NPS, SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xix) | 6" NPS, SCH. 40 | 62 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xx) | 6" NPS, SCH. 80 | 12 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxi) | 6" NPS, SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxii) | 8" NPS, SCH. 40 | 20 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxiii) | 8" NPS, SCH. 80 | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxiv) | 10" NPS, SCH. 40 | 101 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxv) | 10" NPS, SCH. 80 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxvi) | 10" NPS, SCH. 120 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxvii) | 12" NPS, SCH. 40 | 7 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxviii) | 12" NPS, SCH. 80 | 7 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxix) | 12" NPS, SCH. STD | 7 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxx) | 14" NPS, SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxxi) | 14" NPS, SCH. STD | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.2 | BUTT WELD 450 ELBOWS:
a) | ELBOW 45º, LONG RADIUS, B.W. ENDS, ASTM A-234, GR.WPB AS PER ANSI/ASME B 16.9.IN THE FOLLOWING SIZES:
i) | 2" NPS, SCH. 80 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 3" NPS, SCH. 80 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 6" NPS, SCH. 40 | 16 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 8" NPS, SCH. 40 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 10" NPS, SCH. 40 | 23 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 10" NPS, SCH. 80 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 10" NPS, SCH. 120 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 12" NPS, SCH. 40 | 7 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 12" NPS, SCH. 80 | 7 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 12" NPS, SCH. STD | 7 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 14" NPS, SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 14" NPS, SCH. STD | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.3 | SOCKET WELD 900 ELBOWS:
a) | ELBOW 90º, LONG RADIUS, S.W. ENDS, CLASS 3000 #, ASTM A-105, AS PER ANSI/ASME B 16.11 IN THE FOLLOWING SIZES:
i) | 1/2" NPS, SCH. 80 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 1/2" NPS, SCH. 160 | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 3/4" NPS, SCH. 80 | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 3/4" NPS, SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 1" NPS, SCH. 80 | 9 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 1" NPS, SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 1 1/2" NPS, SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 1 1/2" NPS, SCH. 160 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.4 | REDUCING TEES:
a) | REDUCING TEE, B.W ENDS, ASTM A-234 GR. WPB AS PER ANSI B16.9. IN THE FOLLOWING SIZES AND QUANTITY:
i) | 4"x2", SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 4"x3", SCH. 40 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 4"x3", SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 6"x2", SCH. 80 x SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 6"x3", SCH. 160 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 6"x4", SCH. 40 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 6"x4", SCH. 40 x SCH. 80 | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 6"x4", SCH. 160 | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 8"x4", SCH. 80 x SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 8"x6", SCH. 40 x SCH. 40 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 10"x4", SCH. 40 x SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 10"x6", SCH. 40 | 35 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 10"x8", SCH. 40 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 12" x 6" , SCH.80. x SCH. 160. | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xv) | 12" x 8" , SCH.STD. x SCH. 40. | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvi) | 14" x 12" , SCH.STD. x SCH. 80. | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | REDUCING TEE, S.W CLASS 3000# ASTM A-105 AS PER ANSI B16.11. IN THE FOLLOWING SIZES AND QUANTITY: | 0
i) | 1" x 3/4" SCH. 160 | 24 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 2" x 3/4" SCH. 80 | 46 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.5 | EQUAL TEES:
a) | EQUAL TEES, BUTT WELDING ENDS DIMENSIONS ACCORDING TO ASME B16.9, MATERIAL ASTM A-234 GR. WPB IN THE FOLLOWING SIZES AND QUANTITIES:
i) | 1" NPS, SCH. 80 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 1" NPS, SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 1 1/2" NPS, SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 1 1/2" NPS, SCH. 160 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 2" NPS, SCH. 40 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 2" NPS, SCH. 80 | 20 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 2" NPS, SCH. 160 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 2 1/2" NPS, SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 3" NPS, SCH. 40 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 3" NPS, SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 3" NPS, SCH. 160 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 4" NPS, SCH. 40 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 4" NPS, SCH. 80 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 4" NPS, SCH. 160 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xv) | 6" NPS, SCH. 40 | 31 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvi) | 6" NPS, SCH. 80 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvii) | 6" NPS, SCH. 160 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xviii) | 8" NPS, SCH. 40 | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xix) | 8" NPS, SCH. 80 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xx) | 10" NPS, SCH. 40 | 28 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxi) | 10" NPS. SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxii) | 10" NPS. SCH. 120 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxiii) | 12" NPS. SCH. 40 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxiv) | 12" NPS. SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxv) | 12" NPS, SCH. STD. | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxvi) | 14" NPS. SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxvii) | 14" NPS. SCH. STD | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.6 | BRANCH FITTINGS
a) | MATERIAL ASTM A-105, DIMENSION ACCORDING TO ASME B 16.9/16.11/16.25/ ANSI B 1.20.1. IN THE FOLLOWING SIZES AND QUANTITY (W.T. match to pipe):
i) | 3/4" DIA. SOCKOLET CLASS 3000 # ON 3" PIPE | 29 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 3/4" DIA. SOCKOLET CLASS 3000 # ON 4" PIPE | 60 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 3/4" DIA. SOCKOLET CLASS 3000 # ON 6" PIPE | 87 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 3/4" DIA. SOCKOLET CLASS 3000 # ON 8" PIPE | 87 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 3/4" DIA. SOCKOLET CLASS 3000 # ON 10" PIPE | 60 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 3/4" DIA. SOCKOLET CLASS 3000 # ON 12" PIPE | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 1/2" DIA. SOCKOLET CLASS 3000 # ON 3" PIPE | 18 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 1/2" DIA. SOCKOLET CLASS 3000 # ON 10" PIPE | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 1/2" DIA. SOCKOLET CLASS 3000 # ON 4" PIPE | 24 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 1/2" DIA. SOCKOLET CLASS 3000 # ON 6" PIPE | 18 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 1/2" DIA. SOCKOLET CLASS 3000 # ON 8" PIPE | 15 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 1/2" DIA SOCKOLET CLASS 3000 # ON 12" PIPE | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 1" DIA. SOCKOLET CLASS 3000 # ON 4" PIPE | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 1" DIA. SOCKOLET CLASS 3000 # ON 6" PIPE | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xv) | 3" DIA. WELDOLET, SCH. 80 ON 10" PIPE | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvi) | 4" DIA. WELDOLET, SCH. 40 ON 12" PIPE | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.7 | SWAGES & PIPE NIPPLES
a) | CONCENTRIC SWAGE NIPPLE, SOCKET WELDED, CLASS 3000#, DIMENSIONS ACCORDING TO ASME B16.11, MATERIAL: ASTM A 106 Gr. B / A-105 IN THE FOLLOWING SIZES AND QUANTITY:
i) | 1'' x 3/4'' NPS, SCH. 80 PLE-PSE | 5 | NOS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 2'' x 1'' NPS, SCH. 80 PLE-PSE | 14 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | PIPE NIPPLE, SOCKET WELDED, DIMENSIONS ACCORDING TO ASME B36.10, MATERIAL: ASTM A 106 Gr. B IN THE FOLLOWING SIZES AND QUANTITY:
i) | 1/2'' NPS, SCH. 80, BOE - POE x 75 mm long | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 1/2'' NPS, SCH. 80, PBE x 75 mm long | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 1/2'' NPS, SCH. 160, PBE x 75 mm long | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 1/2'' NPS, SCH. 160, POE-TOE x 75 mm long | 42 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 1/2'' NPS, SCH. 160, PBE x 150 mm long | 48 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 3/4" NPS, SCH 160, PBE, x 100mm long | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 1" NPS, SCH 80, BOE - POE, x 100mm long | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 1" NPS, SCH 80, PBE, x 100mm long | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 1" NPS, SCH 160, PBE, x 75mm long | 22 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 1" NPS, SCH 160, POE-TOE, x 75mm long | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 1 1/2" NPS, SCH 160, PBE, x 75mm long | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 1 1/2" NPS, SCH 160, BOE-POE, x 100mm long | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 2" NPS, SCH 80, PBE, x 150mm long | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 2 1/2" NPS, SCH 160, BOE-POE, x 150mm long | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.8 | REDUCERS:
1.8.1 | CONCENTRIC REDUCERS:
a) | CONCENTRIC REDUCER, B.W ENDS, ASTM A-234 Gr. WPB AS PER ANSI B16.9. IN THE FOLLOWING SIZES AND QUANTITY:
i) | 3"x1 1/4", SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 4"x3", SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 6"x3", SCH. 40 | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 6"x3", SCH. 40 x SCH. 80 | 20 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 6"x4", SCH. 40 | 33 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 8" x 6", SCH. 80 x SCH 160 | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 8" x 4", SCH. 40 | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 8" x 5", SCH. 40 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 10" x 4", SCH. 120 x SCH 160 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 10" x 6", SCH. 40 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 10" x 8", SCH. 40 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 12" x 8", SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 12" x 10", SCH. 40 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 14" x 10", SCH. 80 x SCH 120 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xv) | 14" x 12", SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.8.2 | ECCENTRIC REDUCERS
a) | ECCENTRIC REDUCER, B.W ENDS, ASTM A-234 Gr. WPB AS PER ANSI B16.9. IN THE FOLLOWING SIZES AND QUANTITY:
i) | 4" x 2 1/2", SCH. 40 x SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 8" x 6", SCH. 80 x SCH. 80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 12" x 6", SCH. 40 x SCH 160 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 12" x 8", SCH. 40 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 12" x 10", SCH. 80 x SCH 120 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.9 | PLUGS:
a) | PLUG, SQUARE HEAD, CLASS 3000#, ASTM A-105 AS ASME B16.11 IN THE FOLLOWING SIZES & QUATITY:
i) | 1/2" NPS | 7 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 3/4" NPS | 327 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 1" NPS | 16 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.1 | CAPS
a) | CAP, WELDED, MATERIAL A 234 GR. WPB , DIMENSIONS ACCORDING TO ASME B 16.9 IN THE FOLLOWING SIZES AND QUANTITY:
i) | 3" NPS, SCH 40. | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 3" NPS, SCH 80. | 20 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 4" NPS, SCH 40. | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 6" NPS, SCH 40. | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
TOTAl (Pak. Rs.) | [8 empty] | 0 |  |  |  | 0 | 0
NOTES:
1) | ALL TAXES SHALL BE PAYABLE BY CONTRACTOR.
2) | THE QUANTITIES MENTIONED IN THE BOQS ARE INDICATIVE AND MAY CHANGE AS DETAIL DESIGN PROGRESSES. THE BID EVALUATION WILL BE CARRIED OUT CONSIDERING THE QUANTITIES GIVEN IN BOQS AND UNIT RATES QUOTED BY THE BIDDERS.
3) | TEST CERTIFICATES AND MTC'S OF ALL ITEMS SHALL BE PROVIDED.
4) | VENDOR TO FILL THE PRICE IN UNPROTECTED CELLS, UNPROTECTION OF BOQ BY BIDDER LEAD TO DISQUALIFICATION.

## Attach-2C
OIL & GAS DEVELOPMENT COMPANY LTD.
BILL OF QUANTITIES FOR PROCESS & FIRE FIGHTING PIPING WORKS
S.NO. | D E S C R I P T I O N | QTY. | UNIT | Supply | [5 empty] | Services |  |  |  | Total Amount (Supply + Services) (Pak. Rs.) | R E M A R K S
|  |  |  | Unit Rate (Pak Rs.) | Total Supply (Pak Rs.) | GST on Supply items (Pak. Rs.) | Total Supply inclusive of GST | Third Party Pre Shipment Inspection (Pak. Rs.) | Total Supply inclusive of GST & Pre-Shipment Inspection | Unit Rate (Pak Rs.) | Total Services (Pak Rs.) | GST & Provincial tax on Services (Pak.Rs.) | Total Services inclusive of GST & Provincial Tax on Services (Pak.Rs.)
[5 empty] | A | B | C = A+B | D | E = C+D |  | F | G | H = F+G | I=E+H
THE FOLLOWING WORK SHALL INCLUDE , BUT NOT LIMITED TO SUPPLY, INSTALLATION, SHIFTING, PLACEMENT, FABRICATION. WELDING, NDT. HYDROSTATIC TESTING, SURFACE PREPARATION, PAINTING, TESTING, BOLTING, THREADING, PRECOMMISSIONING, COMMISSIONING OF CARBON STEEL FLANGES, GASKETS & STUD BOLTS COMPLETE IN ALL RESPECTS, AS PER FOLLOWING SPECIFICATIONS, AND TO THE ENTIRE SATISFACTION OF OWNER'S REPRESENTATIVE.
SPEC. NO. 165-2-SPM-022
SPEC. NO. 165-2-SPM-017
1 | CARBON STEEL FLANGES
1.1 | WELD NECK FLANGES
a) | FLANGES WELD NECK TYPE, CLASS 150#, RAISED FACE, ASTM A-105 AS PER ASME B-16.5, IN THE FOLLOWING SIZES AND QUANTITY:
Note: Flanges Bore should match with Pipe Sch./Wall Thk.
i) | 2" NPS SCH. 40 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 2" NPS SCH. 80 | 72 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 2" NPS SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 2 1/2" NPS SCH. 80 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 3" NPS SCH .40 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 3" NPS. SCH. 80 | 12 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 3" NPS. SCH. 160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 4" NPS. SCH 40 | 72 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 4" NPS. SCH 80 | 7 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 4" NPS. SCH 160 | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 5" NPS SCH .40 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 6" NPS SCH .40 | 48 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 6" NPS SCH .80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 6" NPS SCH .160 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xv) | 8" NPS SCH .40 | 27 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvi) | 8" NPS SCH .80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvii) | 10" NPS. SCH. 40 | 64 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xviii) | 10" NPS. SCH. 80 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xix) | 10" NPS. SCH. 120 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xx) | 12" NPS. SCH. 40 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxi) | 12" NPS. SCH. 80 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxii) | 12" NPS SCH.STD | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxiii) | 14" NPS. SCH. 80 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xxiv) | 14" NPS. SCH. STD | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | FLANGES WELD NECK TYPE, CLASS 600#, RAISED FACE, ASTM A-105 AS PER ASME B-16.5 (for sizes upto - 24"), IN THE FOLLOWING SIZES AND QUANTITY:
Note: Flanges Bore should match with Pipe Sch./Wall Thk.
i) | 10" NPS. SCH. 120 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 8" NPS. SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 6" ND, SCH .80 | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 4" NPS. SCH. 80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 3" NPS. SCH. 160 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 2" NPS. SCH. 160 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.2 | SOCKET WELD FLANGES
a) | SOCKET WELD FLANGES, CLASS 150#, RF, ASTM A-105 AS PER ANSI B-16.5. IN THE FOLLOWING SIZES AND QUANTITY:
i) | 3/4" NPS, SCH .80 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 1 1/4" NPS, SCH .80 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 1" NPS, SCH .80 | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 1 1/2" NPS, SCH .160 | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.3 | BLIND FLANGES
a) | BLIND FLANGES CLASS 150#, RAISED FACE, ASTM A-105 AS PER ASME B-16.5 (for sizes upto 24") . IN THE FOLLOWING SIZES AND QUANTITY:
i) | 2" NPS. | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 4" NPS. | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 8" NPS. | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 10" NPS. | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 12" NPS | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 14" NPS | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2 | GASKETS
a) | CLASS 150#, 1/8" THK. FLEXIBLE GRAPHITE W/ 304 or 316 SS CORRUGATED INSERT, ASME B16.20
i) | 3/4" NPS | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 1 1/4" NPS | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 1" NPS | 12 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 1 1/2" NPS | 12 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 2" NPS | 85 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 2 1/2" NPS | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 3" NPS | 25 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 4" NPS | 90 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 5" NPS | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 6" NPS | 55 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 8" NPS | 34 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 10" NPS | 80 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 12" NPS. | 14 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 14" NPS. | 18 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | CLASS 600#, 1/8" THK. FLEXIBLE GRAPHITE W/ 304 or 316 SS CORRUGATED INSERT, ASME B16.20
i) | 10" NPS | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 8" NPS | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 6" NPS | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 4" NPS | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 3" NPS | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 2" NPS | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
3 | STUD BOLTS & NUTS
STUD BOLTS WITH TWO HEXAGONAL NUTS & TWO WASHERS EACH, MATERIALS ARE AS FOLLOWS: STUD BOLTS: ASTM A-193 GR. B7, CADMIUM PLATED HEX. NUTS: ASTM A-194 GR. 2H HEAVY HEXAGONAL , CADMIUM PLATED WITH WASHERS AS PER ASME B 18.2.1/18.2.2.
REQUIRED NOMINAL SIZES AND LENGTHS ARE AS UNDER:
i) | 1 1/4" x 215 mm | 32 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 1 1/4" x 195 mm | 32 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 1" x 180 mm | 120 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 1" x 145 mm | 32 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 1" x 130 mm | 192 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 1" x 120 mm | 1104 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 3/4" x 125 mm | 296 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 3/4" x 110 mm | 720 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 5/8" x 110 mm | 24 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 5/8" x 100 mm | 884 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xi) | 5/8" x 90 mm | 1024 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xii) | 5/8" x 85 mm | 328 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiii) | 7/8" x 140 mm | 734 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xiv) | 7/8'' x 120 mm | 216 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xv) | 1/2" x 70 mm | 52 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
xvi) | 1/2" x 65 mm | 48 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
TOTAl (Pak. Rs.) | [8 empty] | 0 |  |  |  | 0 | 0
NOTES:
1) | ALL TAXES SHALL BE PAYABLE BY CONTRACTOR.
2) | THE QUANTITIES MENTIONED IN THE BOQS ARE INDICATIVE AND MAY CHANGE AS DETAIL DESIGN PROGRESSES. THE BID EVALUATION WILL BE CARRIED OUT CONSIDERING THE QUANTITIES GIVEN IN BOQS AND UNIT RATES QUOTED BY THE BIDDERS.
3) | TEST CERTIFICATES AND MTC'S OF ALL ITEMS SHALL BE PROVIDED.
4) | VENDOR TO FILL THE PRICE IN UNPROTECTED CELLS, UNPROTECTION OF BOQ BY BIDDER LEAD TO DISQUALIFICATION.
550
475

## Attach-2D
OIL & GAS DEVELOPMENT COMPANY LTD.
BILL OF QUANTITIES FOR PROCESS & FIRE FIGHTING PIPING WORKS
S.NO. | D E S C R I P T I O N | QTY. | UNIT | Supply | [5 empty] | Services |  |  |  | Total Amount (Supply + Services) (Pak. Rs.) | R E M A R K S
|  |  |  | Unit Rate (Pak Rs.) | Total Supply (Pak Rs.) | GST on Supply items (Pak. Rs.) | Total Supply inclusive of GST | Third Party Pre Shipment Inspection (Pak. Rs.) | Total Supply inclusive of GST & Pre-Shipment Inspection | Unit Rate (Pak Rs.) | Total Services (Pak Rs.) | GST & Provincial tax on Services (Pak.Rs.) | Total Services inclusive of GST & Provincial Tax on Services (Pak.Rs.)
[5 empty] | A | B | C = A+B | D | E = C+D |  | F | G | H = F+G | I=E+H
THE FOLLOWING WORK SHALL INCLUDE , BUT NOT LIMITED TO SUPPLY, INSTALLATION, SHIFTING, PLACEMENT, FABRICATION. WELDING, NDT. HYDROSTATIC TESTING, SURFACE PREPARATION, PAINTING, TESTING, BOLTING, THREADING, PRECOMMISSIONING, COMMISSIONING OF CARBON STEEL VALVES COMPLETE IN ALL RESPECTS, AS PER FOLLOWING SPECIFICATIONS, AND TO THE ENTIRE SATISFACTION OF OWNER'S REPRESENTATIVE.
SPEC. NO. 165-2-SPM-022
SPEC. NO. 165-2-SPM-018
1 | BALL VALVES
1.1 | CAST STEEL BALL VALVES
a) | BALL VALVES, RF ENDS, 150#, REGULAR PORT ASTM 216 Gr. WCB AS PER SPECIFICATION OF PIPING MATERIAL (165-2-SPM-022).
i) | 2" NPS, VB-201 | 10 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 2" NPS, VB-202 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 3" NPS, VB-202 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 4" NPS, VB-202 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 6" NPS, VB-202 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 8" NPS, VB-202 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 10" NPS, VB-202 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 12" NPS, VB-202 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | BALL VALVES, RF ENDS, 600#, REGULAR PORT ASTM 216 Gr. WCB AS PER SPECIFICATION OF PIPING MATERIAL (165-2-SPM-022).
i) | 6" NPS, VB-222 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.2 | FORGED STEEL BALL VALVES
a) | BALL VALVES, SW ENDS, 800#, REG. PORT, ASTM A-105 AS PER SPECIFICATION OF PIPING MATERIAL (165-2-SPM-022)
i) | 1/2" NPS, VB-101 | 30 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 3/4" NPS, VB-101 | 327 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 1" NPS, VB-101 | 9 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 1 1/2" NPS, VB-101 | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2 | CHECK VALVES
2.1 | CAST STEEL CHECK VALVES
a) | FLANGED CHECK VALVE SWING TYPE CLASS 150#, RF, ASTM 216 Gr. WBC AS PER SPECIFICATION OF PIPING MATERIAL (165-2-SPM-022).
i) | 2'' NPS, VC-201 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 3'' NPS, VC-202 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 4" NPS, VC-201 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 6'' NPS, VC-201 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 8'' NPS, VC-202 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 10' NPS, VC-202 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 12' NPS, VC-202 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
3 | GLOBE VALVES
3.1 | CAST STEEL GLOBE VALVES
a) | GLOBE VALVE, ASME CLASS 150#, RF ENDS, ASTM 216 Gr.WCB DIMENSION, AS PER SPECIFICATION OF PIPING MATERIAL (165-2-SPM-022).
i) | 2" NPS, VGL-201 | 2 | NOS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 4'' NPS, VGL-201 | 3 | NOS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 6'' NPS, VGL-201 | 3 | NOS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 8" NPS. VGL-202 | 2 | NOS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 10" NPS. VGL-202 | 2 | NOS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 12" NPS. VGL-202 | 2 | NOS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
4 | GATE VALVES
4.1 | CAST STEEL GATE VALVES
a) | GATE VALVE, ASME CLASS 150#, RF BODY ASTM 216 Gr.WCB DIMENSION, AS PER SPECIFICATION OF PIPING MATERIAL (165-2-SPM-022)
i) | 2" NPS, VG-201 | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 3" NPS, VG-201 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 3" NPS, VG-202 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 4" NPS, VG-201 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
v) | 4'' NPS, VG-202 | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vi) | 6" NPS, VG-201 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
vii) | 6" NPS, VG-202 | 16 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
viii) | 8'' NPS, VG-202 | 7 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ix) | 10'' NPS, VG-202 | 32 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
x) | 12'' NPS, VG-202 | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
4.2 | FORGED STEEL GATE VALVES
a) | GATE VALVE, SW ENDS, CLASS 800#, REG. PORT, FORGED STEEL ASTM A-105 AS PER SPECIFICATION OF PIPING MATERIAL (165-2-SPM-022).
i) | 1/2" NPS, VG-101 | 16 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | 3/4" NPS, VG-101 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | 1" NPS, VG-101 | 14 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | 1 1/2" NPS, VG-101 | 4 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
5 | BASKET-TYPE STRAINER
BODY MATERIAL CARBON STEEL ASTM 106 Gr.B
i) | BASKET-TYPE STRAINER Dia 8" 150# RF | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | BASKET-TYPE STRAINER Dia 12" 150# RF | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
6 | Y-TYPE STRAINER
BODY MATERIAL CARBON STEEL ASTM 106 Gr.B
i) | Y-TYPE STRAINER Dia 2" 150# RF | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
ii) | Y-TYPE STRAINER Dia 4" 150# RF | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iii) | Y-TYPE STRAINER Dia 6" 150# RF | 8 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
iv) | Y-TYPE STRAINER Dia 8" 150# RF | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7 | DIESEL OIL FILTER
i) | DIESEL OIL FILTER F-4001 A/B REFERENCE DOCUMENT: 165-2-DSM-106 165-2-PID-108 | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
TOTAl (Pak. Rs.) | [8 empty] | 0 |  |  |  | 0 | 0
NOTES:
1) | ALL TAXES SHALL BE PAYABLE BY CONTRACTOR.
2) | THE QUANTITIES MENTIONED IN THE BOQS ARE INDICATIVE AND MAY CHANGE AS DETAIL DESIGN PROGRESSES. THE BID EVALUATION WILL BE CARRIED OUT CONSIDERING THE QUANTITIES GIVEN IN BOQS AND UNIT RATES QUOTED BY THE BIDDERS.
3) | TEST CERTIFICATES AND MTC'S OF ALL ITEMS SHALL BE PROVIDED.
4) | VENDOR TO FILL THE PRICE IN UNPROTECTED CELLS, UNPROTECTION OF BOQ BY BIDDER LEAD TO DISQUALIFICATION.