## Cover Page
|  | Zishan Engineers (Pvt.) Ltd. An ISO 9001-2015 certified company, 47/F, Block 6, PECHS, Karachi-Pakistan Tel: (92-21) 34393045-48 & 34310151-54 Fax: (92-21) 34533430 & 34310156 E-mail : contact@zishanengineers.com, Web : www.zishanengineers.com |  | Document No. | 165-2-BQE-006
|  |  |  | Revision | 0
|  |  |  | Date | 2018-06-04
|  |  |  | Total Pages (inc front cover) | 5
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES FOR CONDUIT,TRAY, LADDER TRENCHES, SLEEVES ROAD CROSSINGS, STUB UBS ETC (ELECTRICAL WORKS)
0 | 2018-06-04 | Issued for Tender | MF | NAK | MIAH
Rev. | Date | Description | Prepared By | Checked By | Approved By

## Tray
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES (ELECTRICAL WORKS)
S NO. | D E S C R I P T I O N | QTY. | UNIT | Supply | [5 empty] | Services |  |  |  | Total Amount (Supply + Services) (Pak. Rs.) | REFERENCE / REMARKS
|  |  |  | Unit Rate (Pak Rs.) | Total Supply (Pak Rs.) | GST on Supply items (Pak. Rs.) | Total Supply inclusive of GST | Third Party Pre Shipment Inspection (Pak. Rs.) | Total Supply inclusive of GST & Pre-Shipment Inspection | Unit Rate (Pak Rs.) | Total Services (Pak Rs.) | GST & Provincial tax on Services (Pak.Rs.) | Total Services inclusive of GST & Provincial Tax on Services (Pak.Rs.)
[5 empty] | A | B | C = A+B | D | E = C+D |  | F | G | H = F+G | I=E+H
1.0 | SUPPLY AND INSTALLATION OF GI PIPES/CONDUIT OF FOLLOWING SIZES, BURIED IN SOIL PAVING OR INSTALLED / SUPPORTED ON STEEL/RCC STRUCTURE. THE JOB INCLUDES ALL MOUNTING AND INSTALLATION ACCESSORIES SUCH AS CLAMPS, HOLDERS, SUPPORTS, UNITS / BOLTS, WASHER, ETC. COMPLETE IN ALL RESPECTS.
1.1 | 75 MM DIA GI CONDUIT | 25 | RMTRS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.2 | 63 MM DIA GI CONDUIT | 30 | RMTRS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.3 | 50 MM DIA GI CONDUIT | 50 | RMTRS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.4 | 32 MM DIA GI CONDUIT | 90 | RMTRS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.5 | 25 MM DIA GI CONDUIT | 80 | RMTRS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
1.6 | 20 MM DIA GI CONDUIT | 60 | RMTRS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2 | SUPPLY AND INSTALLATION OF FOLLOWING GI PIPES/CONDUIT'S FITTING OF STATED SIZES, (TO BE INSTALLED UNDERGROUND OR INSTALLED ABOVE GROUND, SUPPORTED ON STEEL STRUCTURE/RCC) INCLUDING ALL MOUNTING AND INSTALLTION ACCESSORIES COMPLETE IN ALL RESPECT.
2.1 | UNIONS:
2.1.1 | 75 MM DIA | 3 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.1.2 | 63 MM DIA | 10 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.1.3 | 50 MM DIA | 8 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.1.4 | 32 MM DIA | 7 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.1.5 | 25 MM DIA | 10 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.1.6 | 20 MM DIA | 8 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.2 | TEES
2.2.1 | 75 MM DIA | 2 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.2.2 | 63 MM DIA | 2 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.2.3 | 50 MM DIA | 3 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.2.4 | 32 MM DIA | 3 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.2.5 | 25 MM DIA | 5 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.2.6 | 20 MM DIA | 6 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.3 | ELBOWS
2.3.1 | 75 MM DIA | 6 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.3.2 | 63 MM DIA | 8 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.3.3 | 50 MM DIA | 12 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.3.4 | 32 MM DIA | 10 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.3.5 | 25 MM DIA | 20 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.3.6 | 20 MM DIA | 18 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.4 | OUTLET BOX 4-WAY WITH COVER
2.4.1 | 75 MM DIA | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.4.2 | 63 MM DIA | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.4.3 | 50 MM DIA | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.4.4 | 32 MM DIA | 2 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.4.5 | 25 MM DIA | 4 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
2.4.6 | 20 MM DIA | 5 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
3.0 | SUPPLY AND INSTALLATION OF CLASS "D" UPVC CONDUITS FOR USE AS STUB UP PIPE SLEEVES FOR BURIED CABLE (FROM UNDERGROUND TO SURFACE).
3.1 | 4" DIA PIPE OF 1M LENGTH EACH | 6 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
3.2 | 3" DIA PIPE OF 1M LENGTH EACH | 8 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
3.3 | 2" DIA PIPE OF 1M LENGTH EACH | 15 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
4 | SUPPLY & INSTALLATION OF CLASS D UPVC CONDUIT AS BURIED RUNS OF PIPE SLEEVES AT DIFFERENT PLANT LOCATION UNDER PAVED AREAS. THE JOBS INCLUDES ALL CONDUIT FITTINGS, REQUIREMENTS FOR COMPLETION OF JOB.
4.1 | 4" DIA. | 15 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
4.2 | 3" DIA. | 18 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
4.3 | 2" DIA. | 26 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
5 | SUPPLY & INSTALLATION OF MS PIPE AS BURIED SLEEVES UNDER PAVED AREA IN APPLICATIONS OTHER THAN ROAD CROSSING COMPLETE IN ALL RESPECTS. (PIPE SLEEVES USED AS ROAD CROSSING SHALL BE QUOTED AS PART OF ITEM 9.0)
5.1 | 6" DIA | 10 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
5.2 | 4" DIA | 18 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
6 | SUPPLY & INSTALLATION OF M.S. CHANNELS OF FOLLOWING SIZES, INSTALLED ON STEEL OR RCC STRUCTURES, EITHER AS SUPPORT / MOUNTING OR AS CABLE WAY FOR SMALL DIA SINGULAR CABLE RUNS. THIS INCLUDES SUPPLY AND INSTALLATION OF ALL MOUNTING & INSTALLATION ACCESSORIES SUCH AS CLAMPS, HOLDERS, BOLTS, WASHER'S, COUPLERS, ETC. COMPLETE IN ALL RESPECTS
6.1 | 50MM(W) X 50MM(D) 14 SWG GALVANIZED SHEET STEEL CHANNEL WITH COVER | 22 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
6.2 | 50MM (W) X 75MM (D) 14 SWG GALVANIZED SHEET STEEL CHANNEL WITH COVER | 18 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.0 | SUPPLY AND INSTALLATION OF GALVANIZED STEEL CABLE LADDER AND ACCESSORIES, MADE UP OF STRUCTURAL QUALITY STEEL, HOT DIP GALVANIZED TO BS 729, AND SUITABLE FOR USE IN MARINE ENVIRONMENT. COMPLETE IN ALL RESPECTS INCLUDING SUPPLY AND INSTALLTION OF ALL REQUIRED SPLICE PLATES, HEX NUT, BOLTS AND WASHERS, ETC. NOTES: 1.THE MENTIONED QUANTITIES ARE COMBINED FOR BOTH ELECTRICAL & INSTRUMENT CABLE LADDER RACKS. 2.OVERALL LADDER RACK SIDE HEIGHT SHALL BE 127MM (MAX.) 3.NUTS BOLTS AND WASHERS SHALL BE GALVANISED AND SUITABLY SIZED. 4.PROVISION TO BE MADE FOR BONDING BETWEEN RACK SECTIONS. 5.RUNGS TO BE SLOTTED, INSTALLED FLAT SIDE UP AND SPACED AT 300MM CENTRES.
7.1 | 900MM WIDE STRAIGHT LADDER RACK | 130 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.2 | 600MM WIDE STRAIGHT LADDER RACK | 128 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.3 | 300MM WIDE STRAIGHT LADDER RACK | 270 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.4 | 150MM WIDE STRAIGHT LADDER RACK | 330 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.5 | 100MM WIDE STRAIGHT LADDER RACK | 160 | RMTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.6 | 90 DEG. HORIZONTAL FLAT BEND, 900MM | 2 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.7 | 90 DEG. HORIZONTAL FLAT BEND, 600MM | 3 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.8 | 90 DEG. HORIZONTAL FLAT BEND, 300MM | 4 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.9 | 90 DEG. HORIZONTAL FLAT BEND, 150MM | 5 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.1 | 90 DEG. HORIZONTAL FLAT BEND, 100MM | 2 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.11 | 45 DEG. HORIZONTAL FLAT BEND, 900MM | 3 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.12 | 45 DEG. HORIZONTAL FLAT BEND, 600MM | 4 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.13 | 45 DEG. HORIZONTAL FLAT BEND, 300MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.14 | 45 DEG. HORIZONTAL FLAT BEND, 150MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.15 | HORIZONTAL TEE 900MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.16 | HORIZONTAL TEE 600MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.17 | HORIZONTAL TEE 300MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.18 | HORIZONTAL TEE 150MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.19 | HORIZONTAL TEE 100MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.2 | HORIZONTAL REDUCING/EXPANDING TEE 900MM X 600MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.21 | HORIZONTAL REDUCING/EXPANDING TEE 600MM X 300MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.22 | HORIZONTAL REDUCING/EXPANDING TEE 300MM X 150MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.23 | HORIZONTAL CROSS 900MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.24 | HORIZONTAL CROSS 600MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.25 | HORIZONTAL CROSS 300MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.26 | HORIZONTAL CROSS 150MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.27 | 90 DEG. VERTICAL INSIDE/OUTSIDE BEND, 900MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.28 | 90 DEG. VERTICAL INSIDE/OUTSIDE BEND, 600MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.29 | 90 DEG. VERTICAL INSIDE/OUTSIDE BEND, 300MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.3 | 90 DEG. VERTICAL INSIDE/OUTSIDE BEND, 150MM | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
8.0 | MATERIAL FOR LADDER / RACK SUPPORTS
SUPPLY FABRICATION AND INSTALLATION OF CABLE TRAY SUPPORT STRUCTURE COMPRISING OF VARIOUS CONFIGURATIONS OF FOLLOWING STRUCTURAL STEEL MEMBERS (AS SHOWN IN REFERRED TYPICAL DETAILS). COMPLETE IN ALL RESPECTS INCLUDING ALL MATERIALS / ACCESSORIES REQUIRED FOR FABRICATION, FIXING AND INSTALLATION.
8.1 | ANGLE 10MM THICKNESS | 300 | KG |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
8.2 | ANGLE 6MM THICKNESS | 280 | KG |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
8.3 | CHANNELS 10MM THICKNESS | 45 | KG |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
8.4 | CHANNELS 6MM THICKNESS | 38 | KG |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
8.5 | PLATE 6MM THK | 40 | KG |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
8.6 | PLATE 10MM THK | 75 | KG |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
9 | CONSTRUCTION OF CABLE DUCT BANKS OF FOLLOWING TYPES AT ROAD CROSSING AS PER REFERRED TYPICAL DETAILS COMPLETE IN ALL RESPECTS WITH ALL CIVIL MATERIAL, INCLUDING SUPPLY AND LAYING OF MS PIPES (OF DIMENSIONS AND QUANTITY) AS SHOWN IN REFERRED DRAWINGS. (ROAD WIDTH TO BE TAKEN AS 6 M FOR EACH ROAD CROSSING) | [13 empty] | 165-2-ELT-009
9.1 | TYPE-A | 3 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
9.2 | TYPE-B | 3 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
9.3 | TYPE-C | 8 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
9.4 | TYPE-D | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
9.5 | TYPE-E | 1 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
10 | CONSTRUCTION OF CABLE PITS / HAND HOLES / MAN HOLES OF FOLLOWING TYPES AS PER REFERRED TYPICAL DETAIL DRAWINGS COMPLETE IN ALL RESPECTS WITH ALL CIVIL MATERIAL AS SHOWN IN REFERRED DRAWINGS (COST OF PIPES SHOWN IN THE DRAWING SHALL NOT BE INCLUDED IN THIS ITEM AND SHALL BE QUOTED SEPARATELY UNDER ITEMS 9.0 & 5.0) | [13 empty] | 165-2-ELT-010
10.1 | TYPE-A | 2 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
10.2 | TYPE-B | 6 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
10.3 | TYPE-C | 4 | Nos. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
11.1 | EXCAVATION OF CABLE TRENCH 800MM(W) X 1000MM(D) AS PER CABLE LAYOUT DRAWING AND REFERRED TYPICAL INSTALLATION DETAILS. THE JOB ALSO INCLUDES BACKFILLING OF CABLE TRENCH AFTER CABLE LAYING. THIS INCLUDES PROVIDING AND LAYING OF LAYER OF FINE SAND ABOVE AND BELOW THE CABLE, PROVIDING AND LAYING OF CABLE TILES COVERING ENTIRE WIDTH OF THE TRENCH, BACKFILLING OF CABLE TRENCH WITH RUBBLE FREE SOIL, COMPACTING OF TRENCH, INSTALLATION OF DANGER TAPE AND INSTALLATION OF CABLE MARKERS. | 510 | Mtrs |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-ELL-003 165-2-ELT-006
11.2 | EXCAVATION OF CABLE TRENCH 450MM(W) X 800MM(D) AS PER CABLE LAYOUT DRAWING AND REFERRED TYPICAL INSTALLATION DETAILS. THE JOB ALSO INCLUDES BACKFILLING OF CABLE TRENCH AFTER CABLE LAYING. THIS INCLUDES PROVIDING AND LAYING OF LAYER OF FINE SAND ABOVE AND BELOW THE CABLE, PROVIDING AND LAYING OF CABLE TILES COVERING ENTIRE WIDTH OF THE TRENCH, BACKFILLING OF CABLE TRENCH WITH RUBBLE FREE SOIL, COMPACTING OF TRENCH, INSTALLATION OF DANGER TAPE AND INSTALLATION OF CABLE MARKERS. | 635 | Mtrs |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-ELL-003 165-2-ELT-006
| Total Price (1 to 11) | [7 empty] | 0 |  |  |  | 0 | 0
NOTES:
1 | All taxes shall be payable by contractor.
2 | The quantities mentioned in the BOQs are indicative and may change as detail design progresses. The bid evaluation will be carried out considering the quantities given in BOQs and unit rates quoted by the Bidders.
3 | Test certificates and MTC's of all items (where applicable) shall be provided.
4 | The charges shall be supported by verified quotation of Inspection Agency.
5 | Copy of the SRO 678 (1)/2007 is given in Annexure-XVIII