## Cover Page
|  | Zishan Engineers (Pvt.) Ltd. An ISO 9001-2015 certified company, 47/F, Block 6, PECHS, Karachi-Pakistan Tel: (92-21) 34393045-48 & 34310151-54 Fax: (92-21) 34533430 & 34310156 E-mail : contact@zishanengineers.com, Web : www.zishanengineers.com |  | Document No. | 165-2-BQI-001
|  |  |  | Revision | 0
|  |  |  | Date | 2018-06-04
|  |  |  | Total Pages (inc front cover) | 6
OIL & GAS DEVELOPMENT COMPANY LTD.
MELA DEVELOPMENT PROJECT
BILL OF QUANTITIES FOR FIELD INSTRUMENTS / DEVICES
0 | 2018-06-04 | Issued for Tender | JAK | JAK | NAK
Rev. | Date | Description | Prepared By | Checked By | Approved By

## BQI
OIL & GAS DEVELOPMENT COMPANY LTD.
BOQ/BID PRICE SCHEDULE FOR FIELD INSTRUMENT/ DEVICES
ITEM | MATERIAL DESIGNATION | QTY. | UNIT | Supply | [5 empty] | Services |  |  |  | Total Amount (Supply + Services) (Pak. Rs.) | R E M A R K S
|  |  |  | Unit Rate (Pak Rs.) | Total Supply (Pak Rs.) | GST on Supply items (Pak. Rs.) | Total Supply inclusive of GST | Third Party Pre Shipment Inspection (Pak. Rs.) | Total Supply inclusive of GST & Pre-Shipment Inspection | Unit Rate (Pak Rs.) | Total Services (Pak Rs.) | GST & Provincial tax on Services (Pak.Rs.) | Total Services inclusive of GST & Provincial Tax on Services (Pak.Rs.)
[5 empty] | A | B | C = A+B | D | E = C+D |  | F | G | H = F+G | I=E+H
1 | INSTRUMENTS
| SUPPLY, INSTALLATION, HOOKUP, CALIBRATION, TESTING AND COMMISSIONING OF FOLLOWING INSTRUMENTS AS PER INSTRUMENT HOOKUP DRAWINGS AND INSTRUMENT DATA SHEETS/SPECIFICATIONS COMPLETE IN ALL RESPECTS. THE PRICES QUOTED SHALL BE INCLUSIVE OF: | [13 empty] | FOLLOWING TYPICAL DRAWINGS SHALL REMAIN APPLICABLE TO ALL ITEMS COVERED IN THIS SECTION. 165-2-IDT-001 165-2-IDT-003
SUPPLY AND INSTALLATION OF ALL REQUIRED MOUNTING AND INSTALLATION ACCESSORIES SUCH AS MOUNTING STANDS / SUPPORTS, STANCHION, CLAMPS, NUTS, BOLTS, BASE ETC. (AS REFERRED IN TYPICAL DETAIL DRAWINGS).
SUPPLY, INSTALLATION, CONNECTIONS, TESTING AND COMMISSIONING OF INSTRUMENT TUBINGS AND FITTINGS (SUCH AS CONNECTORS, COUPLINGS, INST. MANIFOLD VALVES, ETC) WITH ALL RELATED MOUNTING ACCESSORIES SUCH AS CLAMPS/TIES (FOR SECURING TUBING RUNS TO AVAILABLE SUPPORTS), TUBING SUPPORTS (WELDED TO AVAILABLE STEEL STRUCTURE), ETC. COMPLETE IN ALL RESPECTS. (AS REFFERED IN INSTRUMENT HOOKUP DRAWINGS).
1.1 | INSTRUMENTS
1.1.1 | PRESSURE INSTRUMENTS
a) | PRESSURE GAUGES WITH BLOCK AND BLEED VALVE MANIFOLD | 31 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-001 165-2-IHU-001
b) | PRESSURE DIFFERENTIAL INDICATOR WITH 5 VALVE MANIFOLD | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-006 165-2-IHU-005
1.1.2 | TEMPERATURE INSTRUMENTS
a) | TEMPERATURE INDICATORS WITH THERMOWELL | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-002 165-2-IHU-002
1.1.3 | FLOW INSTRUMENTS
a) | FLOW INDICATOR WITH FLOW TOTALIZER (TURBINE TYPE) | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-004 165-2-IHU-006
1.1.4 | VALVES
a) | PRESSURE SAFETY VALVE (1" x 2") | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-003
b) | PRESSURE SAFETY VALVE (3/4" x 1") | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-003
c) | PRESSURE SAFETY VALVE (4" x 6") | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-003
d) | PRESSURE SAFETY VALVE (6" x 8") | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-003
1.1.5 | LEVEL INSTRUMENTS
(a) | LEVEL INDICATOR (FLOAT & MAGNETIC TYPE) | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-005 165-2-IHU-003
(b) | LEVEL TRANSMITTER (RADAR TYPE) | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-007 165-2-IHU-004
1.2 | MISCALLENEOUS INSTRUMENTS
a) | RESTRICTION ORIFICE | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-008
b) | MOISTURE ANALYZER | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSI-009
2 | MISC. TUBING / FITTINGS
RATES AGAINST FOLOWING ITEMS SHALL NOT BE APPLICABLE FOR SECTION - 1.0 OF THIS BOQ. THESE RATES SHALL ONLY BE APPLICABLE FOR ANY QUANTITIES NOT COVERED IN INSTRUMENT HOOKUP DRAWINGS REFERRED IN SECTION - 1.0
SUPPLY & INSTALLATION OF FOLLOWING TUBING / FITTINGS:
a) | SEAMLESS STAINLESS STEEL TUBING, 12MM X 2.0MM WT, ASTM A269 GR. TP316 | 150 | MTR. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | DOUBLE FERRULE COMPR. TYPE STRAIGHT COUPLING, NPT SCREW, 12MM OD., MATERIAL AISI 316 SS. | 30 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
c) | MALE STUD COUPLING, 1/2" NPT X 12MM OD. , MATERIAL AISI 316 SS. | 15 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
d) | COMPRESSION ENDS INSTRUMENT VALVE, 12MMOD , MATERIAL AISI 316 SS. | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
3 | F&G DETECTORS / DEVICES
3.1 | GAS DETECTORS (INFRA RED) POINT TYPE
a) | SUPPLY, INSTALLATION, CALIBRATION, TESTING & COMMISSIONING OF GAS DETECTOR, INFRA-RED, POINT TYPE, SUITABLE FOR INSTALLATION IN ZONE-1 & 2 CLASSIFIED HAZARDOUS AREA, COMPLETE IN ALL RESPECTS INCLUDING SUPPLY, FABRICATION AND INSTALLATION OF ALL SUPPORT / STANDS, SUNSHADES. MOUNTING AND INSTALLATION ACCESSORIES AS SHOWN IN REFFERED DRAWINGS AND DATA SHEET. THIS JOB ALSO INCLUDES SUPPLY & INSTALLATION OF SUNSHADES COMPLETE IN ALL RESPECTS. | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSF&G-001 165-2-IDT-002
3.2 | FLAME DETECTORS (INFRA-RED TYPE)
a) | SUPPLY, INSTALLATION, CALIBRATION, TESTING & COMMISIONING OF FLAME DETECTOR (UV / IR) TYPE, SUITABLE FOR INSTALLATION IN ZONE-1 & 2 CLASSIFIED HAZARDOUS AREA, COMPLETE IN ALL RESPECTS INCLUDING SUPPLY, FABRICATION AND INSTALLATION OF ALL SUPPORT / STAND, MOUNTING AND INSTALLATION ACCESSORIES AS SHOWN IN REFFERED DRAWINGS AND DATA SHEETS. THIS JOB ALSO INCLUDES SUPPLY & INSTALLATION OF SUNSHADES COMPLETE IN ALL RESPECTS. | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSF&G-002 165-2-IDT-002
3.3 | MANUAL ALARM CALL POINT (MCP)
a) | SUPPLY, INSTALLATION, CALIBRATION, TESTING AND COMMISSIONING OF MANUAL ALARM CALL POINTS, BREAK GLASS TYPE, SUITABLE FOR INSTALLATION IN ZONE-1 & 2 CLASSIFIED HAZARDOUS AREA, IP65 COMPLETE IN ALL RESPECTS INCLUDING SUPPLY, FABRICATION AND INSTALLATION OF ALL SUPPORT/ STAND, MOUNTING AND INSTALLATION ACCESSORIES AS SHOWN IN REFFERED DRAWINGS AND DATA SHEETS. | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSF&G-004 165-2-IDT-002
3.4 | MISCELLENIOUS F&G DEVICES
a) | SUPPLY, INSTALLATION, CALIBRATION, TESTING AND COMMISSIONING OF HORN SUITABLE FOR INSTALLATION IN ZONE-1 & 2 CLASSIFIED HAZARDOUS AREA, IP65, AS PER REFERRED DATA SHEET COMPLETE IN ALL RESPECTS. | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSF&G-003 165-2-IDT-002
b) | SUPPLY, INSTALLATION, CALIBRATION, TESTING AND COMMISSIONING OF BEACON SUITABLE FOR INSTALLATION IN ZONE-1 & 2 CLASSIFIED HAZARDOUS AREA, IP65, AS PER REFERRED DATA SHEET COMPLETE IN ALL RESPECTS. | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-DSF&G-005 165-2-IDT-002
4 | INSTRUMENT CABLE
4.1 | SUPPLY, LAYING, INSTALLATION, TERMINATION, DRESSING & TAGGING ETC. OF INSTRUMENT CABLES CONFORMING TO BS 5308 OR EN 50288-7, CU CONDUCTOR, PE INSULATED, 300/500V GRADE, FLAME CHARACTERISTICS TO IEC 60331. COMPLETE IN ALL RESPECTS INCLUDING BUT NOT LIMITED TO CABLE TIES, FERRULE TAGS, LUGS, ETC. CABLES TO BE LAID IN CONDUIT, TRENCH OR TRAY, AS PER SITE CONDITIONS. | [13 empty] | 165-2-SPI-020 165-2-ICL-002
a) | 1Q-1.5 SQ MM CU / MICA / XLPE / ISOS / LSHF/SWA/LSHF | 300 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | 1Q-1.5 SQ MM CU / MICA / XLPE / OSCR / LSHF/SWA/LSHF | 350 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
c) | 1P-1.5 SQ MM CU / MICA / XLPE / OSCR / LSHF / SWA / LSHF | 325 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
d) | 10P-1.5 SQ MM CU / MICA / XLPE / ISOS / LSHF / SWA / LSHF | 275 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
e) | 10P-1.5 SQ MM CU / MICA / XLPE / OSCR / LSHF / SWA / LSHF | 350 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
f) | 1P x 1.5 sq. mm CU / PE / OSCR / PVC / SWA / PVC | 500 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
g) | 5P x 1.5 sq. mm CU / PE / ISOS / PVC / SWA / PVC | 175 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
h) | 5P x 1.5 sq. mm CU / PE / OSCR / PVC / SWA / PVC | 500 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
5 | INSTALLATION ONLY INSTRUMENT CABLE
5.1 | LAYING, INSTALLATION, TERMINATION, DRESSING & TAGGING ETC. OF OWNER SUPPLIED INSTRUMENT CABLES COMPLETE IN ALL RESPECTS INCLUDING BUT NOT LIMITED TO CABLE TIES, FERRULE TAGS, LUGS, ETC. CABLES TO BE LAID IN CONDUIT, TRENCH OR TRAY, AS PER SITE CONDITIONS. | [13 empty] | 165-2-SPI-020
a) | 5P x 1.5 sq. mm CU / PE / ISOS / PVC / SWA / PVC | 250 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | 10P x 1.5 sq. mm CU / PE / OSCR / PVC / SWA / PVC | 250 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
6 | JUNCTION BOXES
| SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF EX-PROOF JUNCTION BOXES SUITABLE FOR CLASS 1, DIV. 2, IP-65, GRP OR METALLIC ENCLOSURE COMPLETE WITH CABLE ENTRIES, GLANDS, GLAND PLATES, INTERNAL / EXTERNAL EARTH STUD, TERMINAL BLOCK, EARTHING RAIL, ETC. AS PER REFERRED DATASHEET. THE JOB INCLUDES SUPPLY, FABRICATION & INSTALLATION OF MOUNTING FRAME / STANDS COMPLETE IN ALL RESPECTS INCLUDING ALL INSTALLATION & MOUNTING ACCESSORIES AS SHOWN IN REFERRED TYPICAL INSTALLATION DETAIL. | [13 empty] | 165-2-SPI-019 165-2-SPI-020 165-2-DSF&G-006 165-2-IDT-006
a) | JUNCTION BOXES FOR F&G ANALOG SIGNALS | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | JUNCTION BOXES FOR F&G DIGITAL SIGNALS | 3 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
c) | JUNCTION BOXES FOR ANALOG SIGNALS | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
d) | JUNCTION BOXES FOR DIGITAL SIGNALS | 1 | NO. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7 | INSTRUMENT CABLE GLANDS & ACCESSORIES
| SUPPLY AND INSTALLATION OF BRASS CABLE GLANDS OF FOLLOWING SIZES CONFORMING TO BS 6121 PART 1 AND SUITABLE FOR PE INSULATED SCREENED OR O/A SCREEN, BLACK PVC SHEATH INSTRUMENT CABLES. GLANDS TO BE SUPPLIED COMPLETE WITH POLYCHLOROPRENE (P.C.P) SHROUD AND SHALL BE SUITABLE FOR CLASS I, ZONE 2, IP 65 APPLICATIONS.(EACH GLAND SHALL BE PROVIDED WITH METALLIC EARTH TAG (RING) FOR 6-10MM2 EARTHING TERMINATION) | [13 empty] | 165-2-SPI-019 165-2-SPI-020
7.1 | FOR INSTRUMENT END
a) | 20S E1FW (FOR ARMOURED CABLES) | 6 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | 20 E1FW (FOR ARMOURED CABLES) | 9 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
c) | 25 E1FW (FOR ARMOURED CABLES) | 12 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
7.2 | FOR JUNCTION BOXES END
a) | 20 E1FW (FOR ARMOURED CABLES) | 9 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | 25 E1FW (FOR ARMOURED CABLES) | 15 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
c) | 32 E1FW (FOR ARMOURED CABLES) | 5 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
d) | 40 E1FW (FOR ARMOURED CABLES) | 2 | NOS. |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
8 | M.S. CHANNELS
SUPPLY & INSTALLATION OF M.S. CHANNELS OF FOLLOWING SIZES, INSTALLED ON STEEL OR RCC STRUCTURES, EITHER AS SUPPORT / MOUNTING OR AS CABLE WAY FOR SMALL DIA. CABLE RUNS. THIS INCLUDES SUPPLY AND INSTALLATION OF ALL MOUNTING & INSTALLATION ACCESSORIES SUCH AS CLAMPS, HOLDERS, BOLTS, WASHER'S, COUPLERS, ETC. COMPLETE IN ALL RESPECTS
a) | 50 MM(w) X 50 MM(d) 14 SWG GALVANIZED SHEET STEEL CHANNEL WITH COVER | 50 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | 50 MM(w) X 75MM (d) 14 SWG GALVANIZED SHEET STEEL CHANNEL WITH COVER | 50 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
9 | CABLE TRENCH
| EXCAVATION OF CABLE TRENCH 600MM(W) X 800MM(D) AS PER CABLE LAYOUT DRAWING. THE JOB ALSO INCLUDES BACKFILLING OF CABLE TRENCH AFTER CABLE LAYING. THIS INCLUDES PROVIDING AND LAYING OF LAYER OF FINE SAND ABOVE AND BELOW THE CABLE, PROVIDING AND LAYING OF CABLE TILES COVERING ENTIRE WIDTH OF THE TRENCH, BACKFILLING OF CABLE TRENCH WITH RUBBLE FREE SOIL, COMPACTING OF TRENCH, INSTALLATION OF CABLE MARKERS. | 350 | MTRS |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-ICL-001
10 | G.I. CONDUIT
SUPPLY AND INSTALLATION OF FOLLOWING GI CONDUIT, BURIED OR SUPPORTED ON STRUCTURE AS PER ELECTRICAL CABLE LAYOUT DRAWING COMPLETE IN ALL RESPECTS INCLUDING SUPPLY AND INSTALLATION OF ALL REQUIRED CONDUIT FITTINGS (UNIONS, ELBOWS, BENDS, TEES, ETC.) AND ALL REQUIRED MOUNTING AND INSTALLATION ACCESSORIES.
a) | 25 MM DIA | 200 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
b) | 50 MM DIA | 50 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
c) | 75 MM DIA | 25 | RM |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
11 | PLC
| SUPPLY, INSTALLATION, INTEGRATION, TESTING AND COMMISSIONING OF SIL-2 PLC SYSTEM AS MAIN PLANT PLC PACKAGE IN COMPLETE ACCORDANCE WITH THE DOCUMENT ‘SCOPE OF WORK, SPECIFICATION AND IO LIST COMPLETE IN ALL RESPECT | 1 | JOB |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 165-2-SPI-011 165-2-SPI-018
12 | SPARES
| 2 (TWO) YEARS SPARE PARTS FOR PLC (BIDDER TO SUBMIT THE 2 YEARS SPARE PARTS LIST WITH BID) | 1 | JOB |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
13 | TOOLS
| SPECIAL TOOLS REQUIRED FOR COMPLETION THE JOB (BIDDER TO SUBMIT LIST OF SPECIAL TOOLS WITH BID) | 1 | JOB |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
| TOTAL PRICE (1 to 13) | [7 empty] | 0 |  |  |  | 0 | 0
NOTES:-
1 | ALL TAXES SHALL BE PAYABLE BY CONTRACTOR.
2 | THE QUANTITIES MENTIONED IN THE BOQS ARE INDICATIVE AND MAY CHANGE AS DETAIL DESIGN PROGRESSES. THE BID EVALUATION WILL BE CARRIED OUT CONSIDERING THE QUANTITIES GIVEN IN BOQS AND UNIT RATES QUOTED BY THE BIDDERS.
3 | TEST CERTIFICATES AND MTC'S OF ALL ITEMS (WHERE APPLICABLE) SHALL BE PROVIDED.
4 | THE CHARGES SHALL BE SUPPORTED BY VERIFIED QUOTATION OF INSPECTION AGENCY.
5 | THE INSTALLATION RATES QUOTED BY BIDDER AGAINST EACH ITEM SHALL BE DEEMED TO BE APPLICABLE ALSO ON ITEMS WHICH ARE OWNER SUPPLIED AND WHOSE INSTALLATION ONLY IS REQUIRED FROM PC CONTRACTOR.
Note on B261: BILAL: VENTS & DRAINS FOR INSTRUMENT AIR
Note on B307: BILAL: INSTRUMENT AIR VENTS & DRAIN