CLARIFICATION NO. 02

TENDER ENQUIRY NO: PROC-SERVICES/CB/C&ESS-6400000093/2022 HIRING SERVICES FOR CONSULTANCY SERVICES FOR DESIGNING OF RCC WORKSHOP SHEDS WITH STEEL TRUSS ROOF FOR MECHANICAL, ELECTRICAL & INSTRUMENT SECTION INCLUDING OFFICES AND ASPHALTIC ROADS AT NASHPA LPG PLANT.

Following points are clarified for the information of all prospective bidders:

i. Complete building electrification works for all buildings i-e Mechanical Workshop, Electrical Workshop & Instrument Workshop are included in Consultant's scope of work.

ii. Power supply required for the new Workshops building DBs, and for overhead crane DBs shall be fed from the plant's existing Switchgear/MCC system.

iii. Data required w.r.t power supply of new workshop DBs, and overhead crane DBs shall be provided by the Client after award of Contract.

iv. Adequacy check of existing power system is not included in Consultant bound.

v. Design of Road / Street lighting works for new roads shall be part of the Consultant's scope as per TORs.

vi. Topographic survey is only limited to the plot of the proposed sheds with orientation /  
location with respect to overall plot of the plant & camp. Further marking of the existing  
boundary wall around the plant & camps area on all four sides in the required topographic sheet will also be included. Available Plot plan of Nashpa Plant, planning plan of proposed sheds along with Google coordinates are attached. However, it is advised to visit site for accurate coordinates. OGDCL rep. is available at Nashpa Plant for any support required in this regard.