## BOQ-002 (hidden)
PAKISTAN PETROLEUM LIMITED |  |  |  |  | DOC. NO . : | 2390-CIV-BOQ-002
ADHI GAS FIELD COMPRESSION PROJECT |  |  |  |  | PREP. BY : | BA
BILL OF QUANTITIES |  |  |  |  | REV. : | 0
CIVIL & STRUCTURE WORKS
GENERATOR FOUNDATION
Item. | P A R T I C U L A R S | Qty. | Unit | Rate | Amount in Rs. | REMARKS
No.
1 | EXCAVATION
| Excavation for foundations in all kinds of soil, dry or wet, hard or soft, including backfilling of excavated earth in plinth i/c breaking clods, dressing, watering and consolidating by ramming in layears not exceeding 150mm depth to obtain 98% modified AASHTO density including lifing, shifting or as per instruction and spceification of the consultant and approval of client (Site Engineer). Contractor will carryout compaction test as per specification with out any extra cost. | 7.2 | m3 |  |  | Refer Note- I & 2
2 | STONE SOLLING
| Supplying and laying stone soling of approved quality under foundations, floor and plinth including hand packing vertically and filling voids with spawels, consolidating and compacting with mechanical means as per drawings, specifications and instruction of Consultant and approval Client (Site Engineer). |  |  |  |  | Refer Note- I & 2
2.2 | 300mm thick | 5.2 | m2
3 | PLAIN CEMENT CONCRETE
| Supplying and laying Plain cement concrete of specified strength for blinding work using approved quality 3/4" max. size graded crushed aggregate & fine aggregate of required properties including approved Steel formwork & its removal, all operations of vibrating, levelling, compacting and curing etc. complete as per specification & instruction of the Consultant. Note: 1. SR cement should be used for all works. 2. Mix design for each type of sample will be provided by the Contractor |  |  |  |  | Refer Note- I & 2
3.1 | PCC 1:4:8 (1 cement 4 sand and 8 coarse aggregate) M10 | 0.5 | m3
4 | REINFORCED CEMENT CONCRETE
| Supplying and laying Reinforced cement concret shall be developed 28 days cylindrical strength of 4000psi, using approved quality 3/4" max. size graded crushed aggregate & fine aggregate including approved form work & its removal, all operations of vibrating, levelling, compacting and curing etc complete but excluding the cost of steel as per specification & instruction of the Consultant.To confirm the desired cylinderical strength 4000Psi (minimum) at 28days(3+3 minimum at 7 and 28 days) the 6in dia and 12" long cylinder tests will be carried out by contractor from approved laboratory. Note: 1. SR cement should be used for all concrete works. 2. Mix design for each type of sample will be provided by the Contractor | 5.7 | m3 |  |  | Refer Note- I & 2
5 | STEEL REINFORCEMENT
| Supplying and laying hard grade ribbed deformed(min yield strength 60,000 psi) steel reinforcement bars including the cost of straightening, cutting, bending, binding, wastage and such overlaps that are not shown in drawings, placing in position on cement concrete 1:2:4 precast spacer block or m.s chairs,tying with binding wire (GI wire of 18 guage), including cost of chairs and wires etc in all kinds of RCC works. Complete in all respect to the approval of Client (Site Engineer). |  |  |  |  | Refer Note- I & 2
5.1 | Deformed Steel (60,000psi) | 0.32 | Tons
6 | STEEL STRUCTURE
| Supply & Installation of steel structure for sheds etc.the scope of work includes Supply ,fabrication ,painting, erection,surface preparation of steel structure etc.complete in all respect as per drawing,instruction and specification of the Consultant and approval of client. |  |  |  |  | Refer Note- I & 2
6.1 | For Generator | 0.3 | Tons
7 | STEEL EMBEDDED PARTS
| Supply, fabricating and fixing of steel embedded parts in concrete such as M.S plates, Anchor bolts for all equipment skidsAnchor lugs, MS Rungs, Angles, Bolts with double nuts and washer etc. Material for Base Plates, Embedded plates/template shall be ASTM A-36. Complete as per drawings, specifications and approval of Client (Site Engineer). |  |  |  |  | Refer Note- I & 2
7.1 | M16 dia Galvanized Anchor Bolts with Nuts & Anchor Plates | 30 | KG
8 | BITUMEN COATING
| Supply & Laying 1200 micron thick 10/20 grade of bitumen for founadtions after two coat of primer outside foundation upto finished ground level to sides of footings including cost of all material,labour,equipment etc complete as per drawing and specification and as directed by the Engineer Incharge. | 10 | m2 |  |  | Refer Note- I & 2
Total Cost (Including Applicable Taxes)
NOTE:
i) | The Quantities taken in this BOQ are estimated only for bidding purpose and may vary as per design requirement.
ii) | The Payment of Works shall be made as per actual works done at site

## BOQ-004 (hidden)
PAKISTAN PETROLEUM LIMITED |  |  |  |  | DOC. NO . : | 2390-CIV-BOQ-004
ADHI GAS FIELD COMPRESSION PROJECT |  |  |  |  | PREP. BY : | BA
BILL OF QUANTITIES |  |  |  |  | REV. : | 0
CIVIL & STRUCTURE WORKS
REPEATOR STATION FOUNDATION
Item. | P A R T I C U L A R S | Qty. | Unit | Rate | Amount in Rs. | REMARKS
No.
1 | EXCAVATION
| Excavation for foundations in all kinds of soil, dry or wet, hard or soft, including backfilling of excavated earth in plinth i/c breaking clods, dressing, watering and consolidating by ramming in layears not exceeding 150mm depth to obtain 98% modified AASHTO density including lifing, shifting or as per instruction and spceification of the consultant and approval of client (Site Engineer). Contractor will carryout compaction test as per specification with out any extra cost. | 15 | m3 |  |  | Refer Note- I & 2
3 | PLAIN CEMENT CONCRETE
| Supplying and laying Plain cement concrete of specified strength for blinding work using approved quality 3/4" max. size graded crushed aggregate & fine aggregate of required properties including approved Steel formwork & its removal, all operations of vibrating, levelling, compacting and curing etc. complete as per specification & instruction of the Consultant. Note: 1. SR cement should be used for all works. 2. Mix design for each type of sample will be provided by the Contractor |  |  |  |  | Refer Note- I & 2
3.1 | PCC 1:4:8 (1 cement 4 sand and 8 coarse aggregate) M10 | 1 | m3
4 | REINFORCED CEMENT CONCRETE
| Supplying and laying Reinforced cement concret shall be developed 28 days cylindrical strength of 3000psi, using approved quality 3/4" max. size graded crushed aggregate & fine aggregate including approved form work & its removal, all operations of vibrating, levelling, compacting and curing etc complete but excluding the cost of steel as per specification & instruction of the Consultant.To confirm the desired cylinderical strength 3000Psi (minimum) at 28days(3+3 minimum at 7 and 28 days) the 6in dia and 12" long cylinder tests will be carried out by contractor from approved laboratory. Note: 1. SR cement should be used for all concrete works. 2. Mix design for each type of sample will be provided by the Contractor | 6 | m3 |  |  | Refer Note- I & 2
5 | STEEL REINFORCEMENT
| Supplying and laying hard grade ribbed deformed(min yield strength 60,000 psi) steel reinforcement bars including the cost of straightening, cutting, bending, binding, wastage and such overlaps that are not shown in drawings, placing in position on cement concrete 1:2:4 precast spacer block or m.s chairs,tying with binding wire (GI wire of 18 guage), including cost of chairs and wires etc in all kinds of RCC works. Complete in all respect to the approval of Client (Site Engineer). |  |  |  |  | Refer Note- I & 2
5.1 | Deformed Steel (60,000psi) | 0.8 | Tons
6 | STEEL STRUCTURE
| Supply & Installation of steel structure for gathering stations etc.the scope of work includes Supply ,fabrication ,painting, erection,surface preparation of steel structure etc.complete in all respect as per drawing,instruction and specification of the Consultant and approval of client. |  |  |  |  | Refer Note- I & 2
6.1 | For Generator | 0.3 | Tons
7 | STEEL EMBEDDED PARTS
| Supply, fabricating and fixing of steel embedded parts in concrete such as M.S plates, Anchor bolts for all equipment skidsAnchor lugs, MS Rungs, Angles, Bolts with double nuts and washer etc. Material for Base Plates, Embedded plates/template shall be ASTM A-36. Complete as per drawings, specifications and approval of Client (Site Engineer). |  |  |  |  | Refer Note- I & 2
7.1 | M16 dia Galvanized Anchor Bolts with Nuts & Anchor Plates | 50 | KG
8 | BITUMEN COATING
| Supply & Laying 1200 micron thick 10/20 grade of bitumen for founadtions after two coat of primer outside foundation upto finished ground level to sides of footings including cost of all material,labour,equipment etc complete as per drawing and specification and as directed by the Engineer Incharge. | 28 | m2 |  |  | Refer Note- I & 2
Total Cost (Including Applicable Taxes)
NOTE:
i) | The Quantities taken in this BOQ are estimated only for bidding purpose and may vary as per design requirement.
ii) | The Payment of Works shall be made as per actual works done at site

## 17-01-2018
OIL & GAS DEVELOPMENT COMPANY LIMITED |  |  |  |  | DOC. NO . : | 0504186-CIV-BOQ-001
INSTALLATION OF FILTER COALESCER FOR |  |  |  |  | PREP. BY : | HA
SERIES OPERATION OF PRCP & QICP QADIRPUR GAS FIELD |  |  |  |  | REV. : | IFC
Schedule of Requirements |  |  |  |  | DATE : | 2021-07-07
FOR PIPE SUPPORT, SLEEPER AND PLATFORM FOUNDATION
Item. | P A R T I C U L A R S | Qty. | Unit | Rate | Amount in Rs. | REMARKS
No.
1 | EXCAVATION
Excavation for all type of foundations in all kinds of soil, dry or wet, hard or soft, including all operation, complete with site clearence, breaking clods, levelling, dressing, dewatering, disposal, shoring, compacting as per instruction and spceification of the consultant and approval of client (Site Engineer). Contractor will carryout compaction test as per specification with out any extra cost.
1.1 | Pipe Support | 29 | m3
1.2 | Sleeper | 3.2 | m3
1.3 | Platform | 0.945 | m3
2 | PLAIN CEMENT CONCRETE
Providing and laying Plain cement concrete of specified strength for blinding work using approved quality 3/4" max. size graded crushed aggregate & fine aggregate of required properties including approved Steel formwork & its removal, all operations of vibrating, levelling, compacting and curing etc. complete as per specification & instruction of the Consultant. Note: 1. SR cement should be used for all works. 2. Mix design for each type of sample will be provided by the Contractor
2.1 | PCC 1:4:8 (1 cement 4 sand and 8 coarse aggregate) C15
2.1.1 | Pipe Support | 1.35 | m3
2.1.2 | Sleeper | 1 | m3
2.1.3 | Platform | 0.105 | m3
3 | REINFORCED CEMENT CONCRETE
Providing and laying Reinforced cement concret shall be developed 28 days cylindrical strength of 3000psi, using approved quality 3/4" max. size graded crushed aggregate & fine aggregate including approved form work & its removal, all operations of vibrating, levelling, compacting and curing etc complete but excluding the cost of steel as per specification & instruction of the Consultant.To confirm the desired cylinderical strength 3000Psi (minimum) at 28days(3+3 minimum at 7 and 28 days) the 6in dia and 12" long cylinder tests will be carried out by contractor from approved laboratory. Note: 1. SR cement should be used for all concrete works. 2. Mix design for each type of sample will be provided by the Contractor
3.1 | Pipe Support | 10 | m3
3.2 | Sleeper | 3.7 | m3
3.3 | Platform | 0.735 | m3
4 | STEEL REINFORCEMENT
Providing and laying hard grade ribbed deformed(min yield strength 60,000 psi) steel reinforcement bars including the cost of straightening, cutting, bending, binding, wastage and such overlaps that are not shown in drawings, placing in position on cement concrete 1:2:4 precast spacer block or m.s chairs,tying with binding wire (GI wire of 18 guage), including cost of chairs and wires etc in all kinds of RCC works. Complete in all respect to the approval of Client (Site Engineer).
4.1 | Pipe Support | 1184 | kg
4.2 | Sleeper | 150 | kg
4.3 | Platform | 99.2 | kg
5 | STEEL EMBEDDED PARTS
Providing, fabricating and fixing of steel embedded parts in concrete such as M.S plates, Anchor lugs, Angles, Bolts with double nuts and washer etc. Complete as per drawings, specifications and approval of Client (Site Engineer).
5.1 | Pipe Support | 372 | kg
5.2 | Sleeper | 75 | kg
5.3 | Platform | 11.83 | kg
6 | BITUMEN COATING
Supply & Laying 1200 micron thick 10/20 grade of bitumen for founadtions after two coat of primer outside foundation upto finished ground level to sides of footings including cost of all material,labour,equipment etc complete as per drawing and specification and as directed by the Engineer Incharge.
6.1 | Pipe Support | 60 | m2
6.2 | Sleeper | 7 | m2
6.3 | Platform | 7.92 | m2
7 | NON-SHRINKAGE GROUT
Supply & laying of 25 mm thk. non-shrinkage grout, having minimum compressive strength of 40 N/mm2 of FOSPAK and SIKA or equivalent as approved by client in accordance with the Company specification, as per drawings, instruction and specification of the Consultant and approval of Client ( Site Engineer).
7.1 | Pipe Support | 2.73 | m2
7.2 | Platform | 0.36 | m2
8 | STEEL STRUCTURE
Supply of all material, fabrication, painting, erection, surface preparation of steel structure etc. Complete in all respect as per drawing, instruction and specification of the Consultant and approval of Client ( Site Engineer).
8.1 | ACCESS PLATFORM | 1050 | kg
8.2 | PIPE SUPPORT STRUCTURE | 1900 | kg
Total Cost (Including Applicable Taxes)
NOTE:
i) | The Quantities taken in this BOQ are actual without any margin.